# Assessment Requirements for CPPFES3024 Inspect and maintain portable foam-generating equipment

Release: 1

Assessment Requirements for CPPFES3024 Inspect and maintain portable foam-generating equipment

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES3024A Inspect and maintain portable foam-generating equipment. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by servicing portable foam-generating equipment, including:

inspection and maintenance of:

one hand-held foam branch pipe

one hose reel foam unit

one mobile unit foam generator

one portable in-line foam inductor

one portable monitor

installation of one hose reel foam unit.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of regulation, work health and safety (WHS) or other policy occurs when inspecting and maintaining portable foam-generating equipment

characteristics of effective foam

classification and purpose of each type of foam

difference between portable and fixed foam systems

foam suitability for different fire types and typical uses

how foam is generated and can be used to extinguish a fire

how to determine amount of foam concentrate required to be added to a tank for correct mix, given volume of water in a tank and foam concentrate percentage

how to determine storage requirements, shelf life and storage temperature range from a given foam concentrate safety data sheet (SDS)

implications of not complying with regulatory requirements when inspecting and maintaining portable foam-generating equipment

features and function of major items of foam-generating equipment

key features of legislation, regulations, codes and Australian Standards relevant to inspecting and maintaining portable foam-generating equipment:

environmental considerations relating to foams

National Construction Code (NCC) and deemed-to-satisfy requirements

maintenance schedules

records and documentation

meaning of foam percentages

principles of operation of:

portable foam-generating equipment

portable foam proportioning equipment and in-line proportioning equipment:

in-line inductors

inflatable bladder proportioning

positive displacement pump proportioning

around-the-pump proportioning

purpose of inductors

reason and methodology for collecting foam concentrate samples from a concentrate storage container

types and purpose of tools, equipment and components used when inspecting and maintaining portable foam-generating equipment:

hand and power tools

personal protective equipment (PPE)

spectrometer

workplace requirements for inspecting and maintaining portable foam-generating equipment:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, tools, equipment and foam-generating equipment required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b