# Assessment Requirements for CPPFES3038 Inspect, test and maintain portable fire monitors

Release: 1

Assessment Requirements for CPPFES3038 Inspect, test and maintain portable fire monitors

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES3038A Inspect, test and maintain portable fire monitors. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by inspecting, testing and maintaining two different portable fire monitors, and performing the following maintenance procedures for each monitor:

removing and replacing the foam nozzle on the portable monitor

cleaning and lubricating swing joints on the foam monitor.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of regulation, work health and safety (WHS) or other policy occurs when inspecting, testing and maintaining portable fire monitors

implications of not complying with regulatory requirements when inspecting, testing and maintaining portable fire monitors

key features of legislation, regulations, codes and Australian Standards relevant to inspecting, testing and maintaining portable fire monitors:

environmental considerations relating to foams

records and documentation

limitations of maintenance functions for fire monitors

operating principles of:

portable fire monitors

pumps associated with hydrants and monitors

purpose of:

foam proportioning equipment relating to portable fire monitors

portable fire monitors

purpose of safety data sheets (SDS) and methods for protecting the environment when working with foams used in the fire protection industry

types and purpose of tools and equipment used when routinely servicing portable fire monitors:

hand and power tools

personal protective equipment (PPE)

workplace requirements for inspecting, testing and maintaining portable fire monitors:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, tools, equipment and portable fire monitors required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b