# Assessment Requirements for CPPFES3040 Install passive fire and smoke containment systems

Release: 1

Assessment Requirements for CPPFES3040 Install passive fire and smoke containment systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES3040A Install passive fire and smoke containment systems. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by installing passive fire and smoke containment systems for three different penetrated elements of construction, including:

installing different types of fireproofing to structural steel and ductwork:

spray

intumescent paint

board

installing fire-stopping systems.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of regulation, work health and safety (WHS) or other policy occurs when installing fire and smoke stopping products and systems

dangers of incorrect installation of passive fire and smoke containment systems

implications of not complying with National Construction Code (NCC) and manufacturer requirements when installing fire and smoke stopping products and systems

key features of legislation, regulations, NCC and Australian Standards relevant to the installation of fire and smoke stopping products and systems:

design, construction, selection, installation and performance requirements for installed fire and smoke stopping products and systems

requirements for labelling and certifying installed fire and smoke stopping products and systems, including types of labels and documents to be used when marking and certifying products and systems

records and documentation

meaning of common technical terms used in the installation of passive fire and smoke containment systems:

plumb, level, square and perpendicular

mix ratio, density, wet film thickness, dry film thickness, section factor (Hp/A), exposed surface to mass (ESM) ratio and critical temperature

fire-rated walls, masonry, concrete, plasterboard and shaft wall

fire-rated floors and floor ceiling systems

penetration dimensions, i.e. width, height, depth and orientation

ambient and cold smoke, medium smoke and elevated and hot smoke

intumescent products and ablative products

clearance, field of application, fire resistance levels, incipient spread of fire, spread of flame indices, fire test report, assessments and letters of opinion

passive fire and smoke containment labelling types

principles of passive fire protection related to overall fire safety and containment systems specific to passive fire and smoke containment systems

procedures for determining fire resistance levels and smoke resistance levels

fireproofing and fire-stopping variables, including types, components and fire barrier types

types and purpose of tools and equipment used when installing fire and smoke stopping products and systems:

hand and power tools

personal protective equipment (PPE)

types of quality defects that may cause loss of fire or smoke resistance when installing fire and smoke stopping products and systems

types, purpose and key physical features of a range of fire and smoke stopping products and systems:

access panels and hatches

ceiling and partition systems

control and expansion joints

duct and damper penetration protection

duct fireproofing and protection

fabric and timber protection, including impregnated or sprayed

fire-resistant mortars and grouts, including load bearing and non-load bearing

fire-resistant pillows, including intumescent and non-intumescent

fire stop collars, including cast in, retrofit and wall

fire-rated air transfer grilles

fire-rated sealants, caulks and putties, including acrylic, polyurethane and silicone

fire-resistant boards, including calcium silicate and vermiculite

industrial fire protection

intumescent dampers and seals

intumescent paints and coatings, other than those used for fireproofing structural steel

linear gaps seals, including impregnated foams, tapes, intumescent gaskets and sealants

materials into or onto which passive fire and smoke containment products are installed

mechanical and intumescent fire dampers

openings in structural elements

penetration solutions

protection against spread of flame

smoke dampers

structural steel fireproofing

unplasticised polyvinyl chloride (UPVC) and plumbing penetrations

workplace requirements for installing fire and smoke stopping products and systems:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, tools, equipment, fire and smoke stopping products and systems and associated manufacturer/product information, and installation sites required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b