# CPPFES3040 Install passive fire and smoke containment systems

Release: 1

CPPFES3040 Install passive fire and smoke containment systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES3040A Install passive fire and smoke containment systems. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Application

This unit of competency specifies the skills and knowledge required to install passive fire and smoke containment systems and follow labelling and certification procedures. It includes both fireproofing and fire-stopping installations. Installation activities are conducted in compliance with the requirements of the National Construction Code (NCC) and manufacturer instructions for the fire and smoke stopping products and systems being installed.

The unit does not cover any installation, maintenance, replacement or repair functions that are restricted to licensed trades or occupations.

A person who has achieved this unit of competency would be expected to take responsibility for organising and completing these tasks with a high degree of self-direction.

Licensing, legislative, regulatory or certification requirements apply to this unit of competency in some states and territories. For further information, check with the relevant regulatory authority.

# Pre-requisite Unit

Nil.

# Unit Sector

Fire Protection Inspection and Testing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and prepare for installation operation. | 1.1 | Interpret work instructions to clarify client needs and installation timeframes and location. |
|  |  | 1.2 | Discuss planned installation procedures with relevant persons to select suitable passive fire and smoke containment system to meet client and regulatory requirements. |
|  |  | 1.3 | Plan work activities to comply with relevant Australian Standards, NCC, regulatory, work health and safety (WHS) and workplace requirements. |
|  |  | 1.4 | Arrange access to worksite and communicate with responsible entity and affected persons to advise duration and impact of planned installation procedures and to ensure alternative safety arrangements are implemented. |
|  |  | 1.5 | Select and use required personal protective equipment (PPE) and identify and control hazards in the work area according to workplace requirements. |
|  |  | 1.6 | Measure installation site and verify calculations against installation requirements for selected fire and smoke stopping products according to manufacturer requirements. |
|  |  | 1.7 | Identify and assemble required tools, equipment, components and fireproofing or fire-stopping materials according to manufacturer and workplace requirements. |
| 2 | Prepare fireproofing substrate or fire-stopping opening. | 2.1 | Check structural or penetrated elements to confirm compliance with required smoke resistance or fire resistance level. |
|  |  | 2.2 | Prepare fireproofing substrate or fire-stopping opening according to manufacturer requirements. |
|  |  | 2.3 | Measure and prepare materials for installation of fireproofing or fire-stopping system according to manufacturer requirements. |
| 3 | Install passive fire and smoke containment system. | 3.1 | Install passive fire and smoke containment system according to manufacturer requirements. |
|  |  | 3.2 | Inspect and test passive fire and smoke containment system to verify quality of installation and workmanship to meet client, NCC and workplace requirements. |
|  |  | 3.3 | Take actions required to rectify quality issues or defects to meet client, NCC and workplace requirements. |
| 4 | Label or mark and certify passive fire and smoke containment system. | 4.1 | Assess installation and label or mark according to the relevant Australian Standard, NCC and manufacturer requirements. |
|  |  | 4.2 | Complete relevant schedule of evidence of compliance according to the relevant Australian Standard, NCC and workplace requirements. |
| 5 | Finalise installation operation. | 5.1 | Complete and distribute installation documentation according to workplace requirements. |
|  |  | 5.2 | Check tools and equipment for faults, wear or damage and rectify or report problems according to workplace requirements. |
|  |  | 5.3 | Leave client premises in a clean and tidy condition. |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to CPPFES3040A Install passive fire and smoke containment systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPFES3040 Install passive fire and smoke containment systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES3040A Install passive fire and smoke containment systems. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by installing passive fire and smoke containment systems for three different penetrated elements of construction, including:

installing different types of fireproofing to structural steel and ductwork:

spray

intumescent paint

board

installing fire-stopping systems.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

action to take when a breach of regulation, work health and safety (WHS) or other policy occurs when installing fire and smoke stopping products and systems

dangers of incorrect installation of passive fire and smoke containment systems

implications of not complying with National Construction Code (NCC) and manufacturer requirements when installing fire and smoke stopping products and systems

key features of legislation, regulations, NCC and Australian Standards relevant to the installation of fire and smoke stopping products and systems:

design, construction, selection, installation and performance requirements for installed fire and smoke stopping products and systems

requirements for labelling and certifying installed fire and smoke stopping products and systems, including types of labels and documents to be used when marking and certifying products and systems

records and documentation

meaning of common technical terms used in the installation of passive fire and smoke containment systems:

plumb, level, square and perpendicular

mix ratio, density, wet film thickness, dry film thickness, section factor (Hp/A), exposed surface to mass (ESM) ratio and critical temperature

fire-rated walls, masonry, concrete, plasterboard and shaft wall

fire-rated floors and floor ceiling systems

penetration dimensions, i.e. width, height, depth and orientation

ambient and cold smoke, medium smoke and elevated and hot smoke

intumescent products and ablative products

clearance, field of application, fire resistance levels, incipient spread of fire, spread of flame indices, fire test report, assessments and letters of opinion

passive fire and smoke containment labelling types

principles of passive fire protection related to overall fire safety and containment systems specific to passive fire and smoke containment systems

procedures for determining fire resistance levels and smoke resistance levels

fireproofing and fire-stopping variables, including types, components and fire barrier types

types and purpose of tools and equipment used when installing fire and smoke stopping products and systems:

hand and power tools

personal protective equipment (PPE)

types of quality defects that may cause loss of fire or smoke resistance when installing fire and smoke stopping products and systems

types, purpose and key physical features of a range of fire and smoke stopping products and systems:

access panels and hatches

ceiling and partition systems

control and expansion joints

duct and damper penetration protection

duct fireproofing and protection

fabric and timber protection, including impregnated or sprayed

fire-resistant mortars and grouts, including load bearing and non-load bearing

fire-resistant pillows, including intumescent and non-intumescent

fire stop collars, including cast in, retrofit and wall

fire-rated air transfer grilles

fire-rated sealants, caulks and putties, including acrylic, polyurethane and silicone

fire-resistant boards, including calcium silicate and vermiculite

industrial fire protection

intumescent dampers and seals

intumescent paints and coatings, other than those used for fireproofing structural steel

linear gaps seals, including impregnated foams, tapes, intumescent gaskets and sealants

materials into or onto which passive fire and smoke containment products are installed

mechanical and intumescent fire dampers

openings in structural elements

penetration solutions

protection against spread of flame

smoke dampers

structural steel fireproofing

unplasticised polyvinyl chloride (UPVC) and plumbing penetrations

workplace requirements for installing fire and smoke stopping products and systems:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to documentation, tools, equipment, fire and smoke stopping products and systems and associated manufacturer/product information, and installation sites required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b