# Assessment Requirements for CPPFES3042 Install and commission pre-engineered fire-suppression systems

Release: 1

Assessment Requirements for CPPFES3042 Install and commission pre-engineered fire-suppression systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES3042A Install and commission pre-engineered fire-suppression systems. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by installing and commissioning two proprietary pre-engineered fire-suppression systems.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

importance of adhering to regulatory requirements, safety procedures and workplace procedures, including implications for plant warranty or safety issues of:

not applying regulatory requirements to job functions

not adhering to safety procedures and actions to take when a breach of regulation, work health and safety (WHS) or other policy occurs

not involving clients or not referencing plant manufacturers’ documentation before working on fixings, access holes or component locations

key features of legislation, regulations, codes and Australian Standards relevant to installing and commissioning pre-engineered fire-suppression systems:

environmental protection

fire protection of mobile and transportable equipment

fire protection of cooking equipment

fire protection of marine engine compartments

records and documentation

limitations of maintenance and repair activities that may be conducted by the service technician

types and purpose of major components used in pre-engineered fire-suppression systems for different manufacturers’ proprietary systems:

actuators: mechanical, pyrotechnic and solenoid

aerosol generators

agent discharge nozzles

agent distribution pipework and hoses

container valves

control equipment

detection devices

extinguishing agent containers, such as tanks and cylinders

support brackets

types and purpose of pre-engineered fire-suppression systems:

design, installation and commissioning requirements and limitations of the manufacturers’ proprietary systems

identification and purpose of the major components in the fire-suppression system for different manufacturers’ proprietary systems

key installation design requirements for pre-engineered systems

manufacturer requirements and standards applicable to design, installation, commissioning, inspecting, testing and maintaining pre-engineered fire-suppression systems

procedures for inspecting, testing and maintaining systems to verify operation to manufacturer requirements

purpose of fire-suppression systems

reasons for commissioning after installation

types of fire-extinguishing agents used in pre-engineered systems and their uses

types and purpose of tools and equipment used when installing and commissioning pre-engineered fire-suppression systems:

hand and power tools

personal protective equipment (PPE)

workplace requirements for installing and commissioning pre-engineered fire-suppression systems:

maintenance of tools and equipment

WHS, including hazard and risk identification and control.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to installation drawings and documentation, manufacturers’ specifications, materials, tools, equipment, pre-engineered fire-suppression systems and installation locations required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b