# Assessment Requirements for CPPFES3044 Interpret installation requirements for gaseous fire-suppression systems

Release: 1

Assessment Requirements for CPPFES3044 Interpret installation requirements for gaseous fire-suppression systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 13.0. Supersedes and is equivalent to CPPFES3044A Interpret installation requirements for gaseous fire-suppression systems. Unit updated to meet the Standards for Training Packages 2012. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by interpreting installation requirements for two different gaseous fire-suppression systems, including for each:

confirming the amendment status and currency of drawings

correctly orientating drawings to the ground

identifying six key features on a drawing and the actual features at the worksite

confirming six items of information from the title block of the installation drawings

identifying six construction dimensions, levels and locations from installation drawings

identifying six ancillary works dimensions, levels and locations from installation drawings

identifying dimensions, material requirements and processes to be followed from formal job specifications.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

basic construction terminology used in installation drawings for gaseous fire-suppression systems

compliance requirements of relevant regulations and Australian Standards associated with the installation of gaseous fire-suppression systems:

gaseous fire extinguishing systems

licensing related to the installation of ozone depleting substances (ODS) and synthetic greenhouse gases (SGG)

drawing conventions

features of drawings, plans and elevations:

abbreviations

contours

direction

key

scale

symbols

key features of installation sites to be noted in relation to installation drawings:

clearance distances

dimensions

existing buildings and structures

locations of plant and equipment

locations of services

roads and railways

service layouts and requirements

shapes of structures or buildings

site shape and orientation

vertical and horizontal measurements

key functions of drawing types:

details of hazard:

dimensions

number of exits

volumes

equipment details:

container fill and size

manufacturers’ type

nozzle size and orifice

actuator type

general layout of equipment

location of key equipment:

containers

local control station

nozzles

pipework

main users of different types of installation drawings:

‘for approval’ drawings

‘for construction’ drawings

‘as-built’ or ‘as-installed’ drawings

mathematical techniques for calculating scale, height, area, volume and grade on drawings and plans

purpose and typical contents of installation specifications for gaseous fire-suppression systems

techniques for orientating drawings and plans to the worksite and finding true north

workplace quality requirements to be applied when interpreting installation requirements for gaseous fire-suppression systems.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be conducted in the workplace or a simulated workplace using realistic conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to design documentation, drawings, measuring tools and equipment and installation sites required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b