# Assessment Requirements for CPPHES4001 Research and assess impact of building elements on thermal performance of residential buildings

Release: 2

Assessment Requirements for CPPHES4001 Research and assess impact of building elements on thermal performance of residential buildings

# Modification History

| Release 2 | This version first released with CPP Property Services Training Package Release 14.0. Updated reference to reflect correction in Modification History from CPC Property Services 5.0 to CPP Property Services 9.0. |
| --- | --- |
| Release 1 | This version first released with CPC Property Services Training Package Release 5.0. Supersedes and equivalent to CPPHSA4015A Assess impact of building elements on thermal performance of residential buildings. Updated to meet the Standards for Training Packages. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by researching and documenting an assessment of the impact of building elements on thermal performance for three different residential buildings involving at least three of the following residential construction methods:

structurally insulated panels

pre-fabricated buildings

brick veneer

cavity brick

concrete block masonry

lightweight construction

reverse brick veneer.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

building design features that may influence the thermal performance of a building:

wall type

convection

eaves

floor types

glazing and windows

insulation

landscaping

materials

orientation

shading

siting

thermal mass

ventilation

zoning and layout

causes of and remedies for condensation

energy efficiency provisions of building regulations and the National Construction Code (NCC)

key components of the building envelope

solar passive building design principles

passive house building design principles

properties of building materials that can influence thermal performance:

emissivity

R-value

reflectivity

solar absorptance

U-value

properties of glazing units that can influence thermal performance:

solar heat gain coefficient

U-value

visible light transmission

types of building construction materials used in residential buildings:

correct industry terminologies

sources of information on their thermal performance

types of building defects, poor construction techniques and condition of building elements that can impact on the thermal performance of residential buildings:

condensation

methods for testing building envelop efficiency:

blower door testing

thermal imaging

types of residential building construction methods:

materials used

benefits and limitations

implications for thermal performance.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to:

documentation associated with residential buildings and building products and materials to allow achievement of the performance evidence

building codes, standards and regulations including the NCC

computer equipment and software suitable for accessing online catalogues and references to source information on the thermal performance of building products and materials

reference materials and/or computer equipment to access current information on the thermal performance of building products and materials including:

solar passive building design

passive house building design

thermal performance of building materials and construction methods

building envelope thermal performance

common building defects including condensation

house energy rating schemes

blower door testing and thermal imaging

manufacturers’ product information on building products and materials.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b