# CPPHES4001 Research and assess impact of building elements on thermal performance of residential buildings

Release: 2

CPPHES4001 Research and assess impact of building elements on thermal performance of residential buildings

# Modification History

| Release 2 | This version first released with CPP Property Services Training Package Release 14.0. Updated reference to reflect correction in Modification History from CPC Property Services 5.0 to CPP Property Services 9.0. |
| --- | --- |
| Release 1 | This version first released with CPC Property Services Training Package Release 5.0. Supersedes and equivalent to CPPHSA4015A Assess impact of building elements on thermal performance of residential buildings. Updated to meet the Standards for Training Packages. |

# Application

This unit specifies the skills and knowledge required to research and assess the impact of construction materials and methods, design elements and building condition on thermal performance of residential buildings.

This unit is for individuals who work independently as home sustainability or Nationwide House Energy Rating Scheme (NatHERS) assessors using specialised knowledge to complete thermal performance assessments of residential buildings. It involves completing routine and non-routine tasks and dealing with predictable and sometimes unpredictable problems.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

None.

# Unit Sector

Home Sustainability.

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Assess impact of building design features on thermal performance of building. | 1.1 | Research building design features that influence thermal performance. |
|  |  | 1.2 | Determine potential impact of building design features on thermal performance. |
|  |  | 1.3 | Examine ways in which building design features can be altered to improve thermal performance. |
| 2 | Assess influence of common construction materials on thermal performance. | 2.1 | Research properties of construction materials that influence thermal performance. |
|  |  | 2.2 | Research properties of glazing units that influence thermal performance. |
|  |  | 2.3 | Determine impact of climate on choice of construction materials to improve thermal performance. |
|  |  | 2.4 | Examine ways in which cost, practicality, size or space constraints can influence choice of building materials when improving thermal performance. |
|  |  | 2.5 | Research construction materials that meet requirements for improving thermal performance. |
|  |  | 2.6 | Research ways that correct use and installation of materials can improve thermal performance. |
|  |  | 2.7 | Examine condition of materials and the effect that condition can have on degrading thermal performance. |
| 3 | Assess impact of construction methods on thermal performance. | 3.1 | Identify construction methods used in residential building. |
|  |  | 3.2 | Identify key components of the building envelope. |
|  |  | 3.3 | Identify methods of testing building envelope for efficiency. |
|  |  | 3.4 | Examine construction methods used on building envelope components and effect on thermal performance. |
| 4 | Identify impact of common building faults on thermal performance of building. | 4.1 | Evaluate influence of poor construction techniques and condition of building elements on thermal performance. |
|  |  | 4.2 | Research sources of professional advice on ways to respond to common building faults that may influence thermal performance. |
|  |  | 4.3 | Examine potential impact of poorly designed or installed measures for improving thermal performance on other aspects of residential building. |
| 5 | Document information and research findings | 5.1 | Collate information and research results and check to confirm accuracy. |
|  |  | 5.2 | Identify impact of building elements on thermal performance of residential buildings. |
|  |  | 5.3 | Identify benefits of efficient building techniques and an efficient building envelope on thermal performance of residential buildings. |
|  |  | 5.4 | Document findings according to workplace requirements. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to interpret and consolidate a wide range of information on thermal performance of buildings

numeracy skills to interpret and calculate statistical data on the thermal performance of different construction materials and methods.

# Unit Mapping Information

Supersedes and equivalent to CPPHSA4015A Assess impact of building elements on thermal performance of residential buildings.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPHES4001 Research and assess impact of building elements on thermal performance of residential buildings

# Modification History

| Release 2 | This version first released with CPP Property Services Training Package Release 14.0. Updated reference to reflect correction in Modification History from CPC Property Services 5.0 to CPP Property Services 9.0. |
| --- | --- |
| Release 1 | This version first released with CPC Property Services Training Package Release 5.0. Supersedes and equivalent to CPPHSA4015A Assess impact of building elements on thermal performance of residential buildings. Updated to meet the Standards for Training Packages. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by researching and documenting an assessment of the impact of building elements on thermal performance for three different residential buildings involving at least three of the following residential construction methods:

structurally insulated panels

pre-fabricated buildings

brick veneer

cavity brick

concrete block masonry

lightweight construction

reverse brick veneer.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

building design features that may influence the thermal performance of a building:

wall type

convection

eaves

floor types

glazing and windows

insulation

landscaping

materials

orientation

shading

siting

thermal mass

ventilation

zoning and layout

causes of and remedies for condensation

energy efficiency provisions of building regulations and the National Construction Code (NCC)

key components of the building envelope

solar passive building design principles

passive house building design principles

properties of building materials that can influence thermal performance:

emissivity

R-value

reflectivity

solar absorptance

U-value

properties of glazing units that can influence thermal performance:

solar heat gain coefficient

U-value

visible light transmission

types of building construction materials used in residential buildings:

correct industry terminologies

sources of information on their thermal performance

types of building defects, poor construction techniques and condition of building elements that can impact on the thermal performance of residential buildings:

condensation

methods for testing building envelop efficiency:

blower door testing

thermal imaging

types of residential building construction methods:

materials used

benefits and limitations

implications for thermal performance.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to:

documentation associated with residential buildings and building products and materials to allow achievement of the performance evidence

building codes, standards and regulations including the NCC

computer equipment and software suitable for accessing online catalogues and references to source information on the thermal performance of building products and materials

reference materials and/or computer equipment to access current information on the thermal performance of building products and materials including:

solar passive building design

passive house building design

thermal performance of building materials and construction methods

building envelope thermal performance

common building defects including condensation

house energy rating schemes

blower door testing and thermal imaging

manufacturers’ product information on building products and materials.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b