# CPPHES4004 Conduct thermal performance assessment of residential buildings

Release: 2

CPPHES4004 Conduct thermal performance assessment of residential buildings

# Modification History

| Release 2 | This version first released with CPP Property Services Training Package Release 14.0. Updated reference to reflect correction in Modification History from CPC Property Services 5.0 to CPP Property Services 9.0. |
| --- | --- |
| Release 1 | This version first released with CPC Property Services Training Package Release 5.0. Supersedes and equivalent to CPPHSA4012A Conduct NatHERS assessment of planned residential buildings. Updated to meet the Standards for Training Packages. |

# Application

This unit specifies the skills and knowledge required to analyse information to assess the thermal potential of the building envelope of planned residential buildings, and the thermal performance of existing residential buildings, including alterations and additions. Assessments involve a variety of building designs and materials across all jurisdictions using the regulatory mode of software accredited under the Nationwide House Energy Rating Scheme (NatHERS).

This unit is for individuals who work independently using specialised knowledge and skills to complete thermal performance assessments. It involves completing routine and non-routine tasks and dealing with predictable and sometimes unpredictable problems.

This unit forms part of the licensing requirements for thermal performance assessments. For further information, check with the relevant regulatory authority.

# Pre-requisite Unit

| CPPCMN4008 | Read plans, drawings and specifications for residential buildings |
| --- | --- |
| CPPHES4003 | Operate and maintain computer system to support thermal performance assessments |

# Unit Sector

Home Sustainability.

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for thermal performance assessment. | 1.1 | Consult with client to confirm scope and purpose of assessment and respond to questions to clarify issues and concerns. |
|  |  | 1.2 | Research and apply jurisdictional regulatory and NatHERS requirements to planned thermal performance assessment. |
|  |  | 1.3 | Obtain documentation and drawings for the assessment and review to verify consistency and sufficiency to meet software, NatHERS technical notes and regulatory requirements. |
|  |  | 1.4 | Refer inconsistencies in documentation or drawings back to client for clarification and amendment. |
|  |  | 1.5 | Request additional information required to conduct assessment to meet client and regulatory requirements. |
|  |  | 1.6 | Check computer equipment to ensure correct operation and confirm that software version and libraries are up to date according to regulatory requirements. |
| 2 | Collate and input information into NatHERS software tool. | 2.1 | Extract information required for input into software tool from building documentation and NatHERS technical notes. |
|  |  | 2.2 | Enter extracted information into software tool according to regulatory requirements for the building. |
|  |  | 2.3 | Enter information on non-standard building materials and designs, alterations and additions correctly according to software and regulatory requirements. |
|  |  | 2.4 | Check inputted data and make necessary adjustments to ensure accuracy and compliance with regulatory requirements. |
| 3 | Model thermal performance of building. | 3.1 | Apply software tool functions to model thermal performance of building. |
|  |  | 3.2 | Run simulation to determine if the building’s potential thermal performance complies with regulatory requirements. |
|  |  | 3.3 | Check simulation against latest documentation set and amend identified discrepancies. |
|  |  | 3.4 | Analyse software tool outputs to clarify assumptions, identify limitations and correct errors in data entry. |
|  |  | 3.5 | Interpret software tool outputs and profile building’s thermal performance. |
| 4 | Identify options to improve thermal performance of building. | 4.1 | Analyse strengths and weaknesses in thermal performance of building. |
|  |  | 4.2 | Access technical advice and identify cost effective options for improving thermal performance considering outputs of thermal performance assessment, practicality and type of building. |
|  |  | 4.3 | Identify interactions of identified improvements on other aspects of building performance. |
|  |  | 4.4 | Use software tool to reassess building and impact of identified options on thermal performance. |
| 5 | Report and certify thermal performance assessment outcomes. | 5.1 | Finalise thermal performance assessment and collate design and assessment documentation in line with regulatory requirements in relevant jurisdictions and for auditing and quality assurance. |
|  |  | 5.2 | Write up options and recommendations for achieving required energy efficiency rating according to regulatory requirements. |
|  |  | 5.3 | Discuss assessment outcomes with relevant persons and obtain approval to proceed with certification according to organisational requirements. |
|  |  | 5.4 | Submit NatHERS report through required portal to generate universal certificate. |
|  |  | 5.5 | Confirm stamping is complete and secure documentation according to regulatory requirements. |
|  |  | 5.6 | Store assessment documentation in accordance with regulatory requirements to enable recovery for audit and quality assurance purposes. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

numeracy skills to interpret thermal performance outputs including U-values and R-values

reading skills to interpret a variety of texts including regulations, codes, technical notes and building plans and specifications

writing skills to complete standard forms and generate business correspondence and reports

problem-solving skills to:

make recommendations based on the outputs of NatHERS software tools

determine optional improvements to thermal performance.

# Unit Mapping Information

Supersedes and equivalent to CPPHSA4012A Conduct NatHERS assessment of planned residential buildings.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPHES4004 Conduct thermal performance assessment of residential buildings

# Modification History

| Release 2 | This version first released with CPP Property Services Training Package Release 14.0. Updated reference to reflect correction in Modification History from CPC Property Services 5.0 to CPP Property Services 9.0. |
| --- | --- |
| Release 1 | This version first released with CPC Property Services Training Package Release 5.0. Supersedes and equivalent to CPPHSA4012A Conduct NatHERS assessment of planned residential buildings. Updated to meet the Standards for Training Packages. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by using an accredited Nationwide House Energy Rating Scheme (NatHERS) software tool to conduct thermal performance assessments of six residential buildings.

The assessments must be conducted in accordance with the requirements of the software, technical notes and jurisdictional regulatory requirements.

The buildings assessed must include:

different designs appropriate to a tropical, a temperate and a cold climate zone

a variety of building materials and designs appropriate to the climate zone.

These buildings must incorporate the following:

one single story dwelling (a minimum of three bedrooms)

one double storey dwelling (a minimum of three bedrooms)

an apartment unit (two bedrooms) in a Class 2 building modelled as:

a ground floor unit over a basement/carpark

a middle level unit with neighbouring units above and below

and a top floor unit with a roof over

one alteration works that includes an addition to one of the above dwellings.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

Australian climate zones, characteristics and data used in thermal performance assessments

design features that influence the thermal comfort of buildings

energy units of measurement and terminology associated with thermal performance assessments:

energy efficiency

heating and cooling loads

solar heat gain coefficient (SHGC) and U-value

R values

options to improve the thermal performance of buildings:

construction materials

draughtproofing

floor coverings

insulation levels

landscaping and plantings

orientation

overshadowing

passive heating and cooling

shade

structural changes

thermal mass

ventilation

window size, location, type and coverings

passive design and thermal performance principles:

glazing

insulation

orientation

passive cooling

passive solar heating

shading

skylights

thermal mass

building sealing

thermal bridging and breaks

regulatory and jurisdictional requirements for thermal performance assessments of residential buildings categorised as Class 1, 2, 4 and 10a of the National Construction Code (NCC)

thermal performance properties of common building materials:

solar absorptance

heat transfer coefficients and U-values

material thickness

reflectivity

resistance heat flow up and down

solar heat gain coefficient and emissivity

thermal bridging and breaks

thermal resistance and R-values

types and operation of NatHERS accredited software tools:

assumptions and limitations as to what can be assessed which are inherent in NatHERS software protocols and accredited software

building and external elements included in NatHERS thermal performance assessments.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to:

current accredited NatHERS software tool and associated equipment and manuals

the NCC and jurisdictional guidelines associated with conducting NatHERS assessments

residential building design documentation and technical information to allow achievement of the performance evidence

NatHERS technical notes and software accreditation protocol.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b