# Assessment Requirements for CPPHES4006 Assess household water use and efficiency improvements

Release: 2

Assessment Requirements for CPPHES4006 Assess household water use and efficiency improvements

# Modification History

| Release 2 | This version first released with CPP Property Services Training Package Release 14.0. Updated reference to reflect correction in Modification History from CPC Property Services 5.0 to CPP Property Services 9.0. |
| --- | --- |
| Release 1 | This version first released with CPC Property Services Training Package Release 5.0. Supersedes and equivalent to CPPHSA4003A Assess household water use. Updated to meet the Standards for Training Packages. |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by safely conducting water use assessments and identifying efficiency improvements for three different households.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

alternative water harvesting, diversion and waste water (greywater, purple-water and blackwater) use technologies

characteristics of external residential water services:

domestic irrigation and reticulation systems

evaporative coolers

greywater systems

recycled systems

swimming pools and spas

characteristics of internal residential water services:

age

average daily use

capacity

condition

flow rate

leaks and drips

suitability for size of household

water efficiency rating

water saving features

household water sources and water saving features

impact of occupant behaviours on water consumption

key requirements of relevant codes, standards, regulations and government incentive programs for water efficiency

major indoor and outdoor services, systems, appliances, fittings contributing to household water use

regulatory and jurisdictional requirements for water harvesting, recycled and greywater reuse

relationship between greenhouse gas emissions and household water use

safe work requirements for on-site assessments of household water use and potential hazards:

biological hazards associated with blackwater, purple-water and greywater

confined spaces

electricity

faulty appliances and electrocution

hazardous substances

types of personal protective equipment (PPE) to be used

sources of data on domestic water use and costs:

water bills:

units of measurement and tariffs

water meters:

conventional and smart

water efficiency and labelling standards (WELS) and strategies for improving household water efficiency

water efficient gardening practices.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

This unit must be assessed in the workplace or a close simulation using realistic workplace conditions, materials, activities, responsibilities, procedures, safety requirements and environmental considerations.

Candidates must have access to:

residential buildings to allow achievement of the performance evidence

codes, standards, legislation and government programs relevant to water efficiency

major internal and external residential water services, systems, appliances and fittings

technical information on:

wastewater (blackwater, purple-water and greywater) use technologies

water services, systems, appliances and fittings

water harvesting diversions

PPE and water measurement and data collection tools and documentation.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b