# CPPHES4006 Assess household water use and efficiency improvements

Release: 2

CPPHES4006 Assess household water use and efficiency improvements

# Modification History

| Release 2 | This version first released with CPP Property Services Training Package Release 14.0. Updated reference to reflect correction in Modification History from CPC Property Services 5.0 to CPP Property Services 9.0. |
| --- | --- |
| Release 1 | This version first released with CPC Property Services Training Package Release 5.0. Supersedes and equivalent to CPPHSA4003A Assess household water use. Updated to meet the Standards for Training Packages. |

# Application

This unit specifies the skills and knowledge required to source and analyse information on household water use and to advise on ways to improve water efficiency and conservation in the home.

This unit is for individuals who work independently as home sustainability assessors using specialised knowledge to complete household water assessments. It involves completing routine and non-routine tasks and dealing with predictable and sometimes unpredictable problems.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

None.

# Unit Sector

Home Sustainability.

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and organise water use assessment. | 1.1 | Consult with client to clarify purpose of water use assessment and respond to questions and concerns. |
|  |  | 1.2 | Confirm assessment requirements in line with client needs, water authorities, legislation, regulations, standards, codes and government incentive programs for water efficiency. |
|  |  | 1.3 | Plan water use assessment in consultation with client and according to work health and safety (WHS) requirements. |
|  |  | 1.4 | Prepare documentation required to conduct energy use assessment. |
|  |  | 1.5 | Confirm that required tools and equipment are available and in working order. |
| 2 | Compile information on household water use and costs. | 2.1 | Gather information from client to identify main systems and sources of water use including relevant water collection and reuse systems. |
|  |  | 2.2 | Access and interpret water bills and seasonal usage. |
|  |  | 2.3 | Carry out measurements and observations during on-site inspection to safely confirm main sources, systems and water usage. |
|  |  | 2.4 | Gather information on household occupant behaviours and preferences that impact water use. |
|  |  | 2.5 | Record gathered information using suitable data collection tool. |
| 3 | Analyse data on household water use and conservation. | 3.1 | Identify key features of household water use and calculate costs and greenhouse gas emissions. |
|  |  | 3.2 | Reconcile calculated water use with water bill data. |
|  |  | 3.3 | Identify cost effective measures and behavioural opportunities for improving water efficiency. |
|  |  | 3.4 | Identify government rebates and other assistance programs for improving household water efficiency. |
|  |  | 3.5 | Estimate water, emissions and cost savings to be gained by implementing measures for improving water efficiency. |
| 4 | Assess feasibility of using water collection and reuse measures on the property. | 4.1 | Identify regulatory and local government requirements for water harvesting and wastewater use. |
|  |  | 4.2 | Source technical information on water harvesting, diversion and wastewater use technologies and evaluate suitability for the residential property in line with jurisdictional regulations. |
|  |  | 4.3 | Calculate volume of potential water harvesting opportunity. |
|  |  | 4.4 | Identify government rebates and other assistance programs for installing water harvesting and greywater use technologies. |
|  |  | 4.5 | Estimate return on investment for the installation of water harvesting and greywater use technologies. |
|  |  | 4.6 | Identify advantages and disadvantages of using property for water harvesting and greywater use technologies. |
| 5 | Report findings of household water use assessment. | 5.1 | Collate results, recommendations and supporting evidence of water use assessment. |
|  |  | 5.2 | Document options, potential savings and prioritise recommendations for water efficiency measures. |
|  |  | 5.3 | Explain report and indicative costs, potential savings and improvements in household water efficiency to client. |
|  |  | 5.4 | Advise client of applicable regulatory or local government requirements impacting findings of household water use assessment. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

oral communication skills to use language and terminology suitable to the audience

numeracy skills to apply mathematical concepts in calculating and comparing costs and water use

reading skills to interpret data from water meters and the outputs of water measuring tools.

# Unit Mapping Information

Supersedes and equivalent to CPPHSA4003A Assess household water use.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b