# CPPSEC2021 Install security equipment and systems

Release: 1

CPPSEC2021 Install security equipment and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC2021A Install security equipment and systems. Updated to meet the Standards for Training Packages |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to install a range of security equipment and systems. It includes selecting and using materials, tools and equipment to install security equipment and systems using approved cable termination methods and procedures.  This work applies in extra low voltage environments as defined in Australian Standard AS/NZS 2201.1:2007 Intruder alarm systems - Client’s premises - Design, installation, commissioning and maintenance (AS/NZS 2201) and involves applying National Construction Code (NCC) requirements to the installation.

The unit is suitable for those with basic skills and knowledge undertaking routine work tasks under the direction of more experienced workers.

Licensing, legislative or certification requirements apply to advising on, supplying, installing, maintaining, monitoring, repairing and servicing security equipment in some states and territories.  For further information, check with the relevant regulatory authority.

# Pre-requisite Unit

None.

# Unit Sector

Technical

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare to install security equipment and systems. | 1.1 | Review work instructions to confirm installation timeframes, client needs, site location and equipment requirements and clarify issues with relevant persons. |
|  |  | 1.2 | Review AS/NZS 2201 and NCC to understand regulatory requirements for locating and installing security equipment and systems and apply to work instructions. |
|  |  | 1.3 | Review and follow workplace policies and procedures including work health and safety (WHS) when carrying out work tasks. |
|  |  | 1.4 | Identify and obtain security equipment and system to be installed following workplace procedures. |
| 2 | Plan and organise installation operation. | 2.1 | Plan and prioritise work tasks to allow sufficient time to meet work instructions. |
|  |  | 2.2 | Select and organise required tools and equipment including personal protective equipment and check for safe and correct operation. |
|  |  | 2.3 | Select and organise required materials and hardware for product installation suitable to the specific installation surface and installation procedures. |
|  |  | 2.4 | Inspect installation area to identify and control or report risks and hazards. |
| 3 | Conduct installation procedures. | 3.1 | Use safe work practices when working with electronic equipment and cables according to WHS requirements. |
|  |  | 3.2 | Select installation position to comply with manufacturers’ specifications and work instructions. |
|  |  | 3.3 | Securely fix security equipment and system and terminate and connect cables, ensuring no damage or distortion is caused to the surrounding environment or services. |
|  |  | 3.4 | Identify problems impacting the installation and obtain approval from relevant persons to vary the installation plan. |
|  |  | 3.5 | Inspect installed security equipment and system to confirm correct operation. |
|  |  | 3.6 | Check to confirm all terminations are electrically and mechanically sound according to WHS requirements. |
| 4 | Complete installation and documentation. | 4.1 | Notify installation completion to relevant persons. |
|  |  | 4.2 | Complete installation documentation according to workplace and regulatory requirements. |
|  |  | 4.3 | Check tools and equipment for faults, wear or damage and rectify or report problems. |
|  |  | 4.4 | Restore work area to original condition and remove waste caused by installation operation. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to understand key requirements of:

plans when locating installation sites for security equipment and systems

Australian standards, NCC and manufacturers’ instructions

numeracy skills to calculate measurements to accurately position and fix security equipment and systems.

# Unit Mapping Information

Supersedes and equivalent to CPPSEC2021A Install security equipment and systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPSEC2021 Install security equipment and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC2021A Install security equipment and systems. Updated to meet the Standards for Training Packages |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by installing security equipment and systems at three different premises involving at least two types of systems listed below, one of which must be an internet protocol (IP) networked installation:

access control system

intruder alarm system

audible and visual warning device

electronic lock and locking system

intercom and control panel.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when installing security equipment and systems:

licensing requirements and limits of own authority

privacy requirements

reporting and documentation

requirements for complying with Australian Communications and Media Authority cabling rules

work health and safety

application of AS/NZS 2201.1:2007 Intruder alarm systems – Client’s premises – Design, installation, commissioning and maintenance (AS/NZS 2201) and the National Construction Code (NCC) to the installation of security equipment and systems

basic carpentry techniques used when installing security equipment and systems

cable identification, termination and connection procedures associated with installing security equipment and systems

documentation to be completed when installing security equipment and systems to ensure compliance with licensing and warranty requirements

materials, hardware, tools and equipment including personal protective equipment (PPE) used when installing security systems and equipment

methods for ensuring IP networked systems and equipment are properly secured

soldering and drilling techniques used when installing security equipment and systems

techniques for sealing cable entries

types and functions of security equipment and systems:

access control systems

audible and visual warning devices

cameras and monitors

commercial and residential alarm systems

detection devices

electronic and mechanical fire safety and fire locking systems

electronic locks and locking systems

electronic readers

electronic screen equipment

intercoms and control panels

security doors and door controls

types of earthing systems used in electrical installations

typical hazards encountered when installing security equipment and systems and the control measures for each:

confined spaces

electrical

hazardous materials and chemicals

hidden utilities

people in the work area

power tools

vermin.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

All individuals engaged by a licensed RTO for security licensing purposes must hold both a security trainers licence (where such a licence exists within the relevant jurisdiction) and the licence for performing the security activities for which the individual is providing training or assessment.  Regulators may impose other assessor conditions to meet jurisdictional assessment requirements.

Assessment must be conducted in the workplace or in a simulated workplace environment. Candidates must have access to:

workplace policies and procedures, work instructions, security equipment and systems, PPE, tools, materials and hardware required to achieve the performance evidence

product information and manufacturers’ instructions for equipment and systems being installed

AS/NZS 2201

NCC.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b