# Assessment Requirements for CPPSEC2024 Monitor and respond to electronic information from security equipment and systems

Release: 1

Assessment Requirements for CPPSEC2024 Monitor and respond to electronic information from security equipment and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC2024 Implement electronic monitoring procedures. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by monitoring electronic information from security equipment and systems for three different shifts and actioning a minimum of six responses to electronic security information.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when monitoring and responding to electronic information from security equipment and systems:

licensing requirements and limits of own authority

privacy requirements

work health and safety

change of shift procedures for workplace

common electronic monitoring equipment and system configurations and programs

common faults and malfunctions in security equipment and systems

common keypad and control panel types and functions associated with electronic security systems and equipment

computer software and software templates used for monitoring functions in security systems

documentation to be completed when monitoring and responding to electronic security information

methods for prioritising response options when monitoring and receiving electronic security information

monitoring and response parameters for electronic security systems and equipment

operating principles and functions of a range of electronic security systems and equipment

procedures for verifying the authenticity of electronic information received from security equipment and systems

procedures to back-up and protect electronic security information

situations presenting risk and requiring approval to vary response

types of alarm transmission technologies including wireless and internet protocol monitoring and dialler monitoring.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

All individuals engaged by a licensed RTO for security licensing purposes must hold both a security trainers licence (where such a licence exists within the relevant jurisdiction) and the licence for performing the security activities for which the individual is providing training or assessment.  Regulators may impose other assessor conditions to meet jurisdictional assessment requirements.

Assessment must be conducted in the workplace or in a simulated workplace environment. Candidates must have access to:

workplace policies and procedures, work task specifications for monitoring and responding to electronic information from security equipment and systems, and electronic security equipment and systems required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b