# Assessment Requirements for CPPSEC2026 Perform routine maintenance on security equipment and systems

Release: 1

Assessment Requirements for CPPSEC2026 Perform routine maintenance on security equipment and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC2026A Perform routine maintenance on security equipment and system. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by performing routine maintenance on at minimum of three types of security equipment and systems listed below, one of which must be an internet protocol (IP) networked installation:

access control system

intruder alarm system

audible and visual warning device

electronic lock and locking system

intercom and control panel.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when performing routine maintenance on security equipment and systems:

licensing requirements and limits of own authority

privacy requirements

reporting and documentation

requirements for complying with Australian Communications and Media Authority cabling rules

work health and safety

cable identification, termination and connection procedures associated with repairing installed security equipment and systems

documentation to be completed when maintaining security equipment and systems to ensure compliance with licensing and warranty requirements

methods for reinstating IP networked systems and equipment and ensuring they are properly secured

methods for sealing cable entries

tools and equipment including personal protective equipment (PPE) used when performing routine maintenance on security systems and equipment

types, functions and purpose of security equipment and systems:

access control systems

audible and visual warning devices

cameras and monitors

commercial and residential alarm systems

detection devices

electronic and mechanical fire safety and fire locking systems

electronic locks and locking systems

electronic readers

electronic screen equipment

intercoms and control panels

security doors and door controls

types, functions and purpose of end-of-line devices and resistors

types of earthing systems used in electrical installations

types of faults and maintenance procedures for a range of security equipment and systems and repairs permitted within scope of own role, authority and competence

typical hazards encountered when performing routine maintenance on security equipment and systems and the control measures for each:

confined spaces

electrical

hazardous materials and chemicals

hidden utilities

people in the work area

power tools

vermin.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

All individuals engaged by a licensed RTO for security licensing purposes must hold both a security trainers licence (where such a licence exists within the relevant jurisdiction) and the licence for performing the security activities for which the individual is providing training or assessment.  Regulators may impose other assessor conditions to meet jurisdictional assessment requirements.

Assessment must be conducted in the workplace or in a simulated workplace environment. Candidates must have access to:

workplace policies and procedures, work instructions, documentation, security equipment and systems, PPE and tools required to achieve the performance evidence

manufacturers’ instructions for equipment and systems to be serviced.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b