# Assessment Requirements for CPPSEC3024 Install advanced technology security equipment and systems

Release: 1

Assessment Requirements for CPPSEC3024 Install advanced technology security equipment and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is not equivalent to CPPSEC3024A Install biometrics equipment and systems. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by conducting three different installations of security equipment and systems which use at least two of the advanced technologies listed below:

artificial intelligence (AI)

biometrics

robotics

smart technologies

video integration.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when installing advanced technology security equipment and systems:

licensing requirements and limits of own authority

privacy requirements

reporting and documentation

requirements for complying with Australian Communications and Media Authority cabling rules

work health and safety

application of AS/NZS 2201.1:2007 Intruder alarm systems – Client’s premises – Design, installation, commissioning and maintenance (AS/NZS 2201) and the National Construction Code (NCC) when installing advanced technology security equipment and systems

basic carpentry techniques used when installing advanced technology security equipment and systems

basic electrical concepts associated with voltage, current, resistance and impedance

cable identification, termination and connection procedures associated with installing advanced technology security equipment and systems

documentation to be completed when installing advanced technology security equipment and systems to ensure compliance with licensing and warranty requirements

established threshold levels and their impact on security

materials, hardware, tools and equipment including personal protective equipment (PPE) used when installing advanced technology security equipment and systems

methods for ensuring IP networked systems and equipment are properly secured

location requirements advanced technology security equipment and systems to ensure optimal functioning

programming, configuration, networking and integration requirements for setting up and connecting advanced technology security equipment and systems

soldering and drilling techniques used when installing advanced technology security equipment and systems

techniques for sealing cable entries

types and functions of a range of advanced technology security systems and equipment:

AI

biometrics

robotics

smart technologies

video integration

types of earthing systems used in electrical installations

typical hazards encountered when installing advanced technology security equipment and systems and the control measures for each:

confined spaces

electrical

hazardous materials and chemicals

hidden utilities

people in the work area

power tools

vermin.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

All individuals engaged by a licensed RTO for security licensing purposes must hold both a security trainers licence (where such a licence exists within the relevant jurisdiction) and the licence for performing the security activities for which the individual is providing training or assessment.  Regulators may impose other assessor conditions to meet jurisdictional assessment requirements.

Assessment must be conducted in the workplace or in a simulated workplace environment. Candidates must have access to:

workplace policies and procedures, work instructions, documentation, advanced technology security equipment and systems, PPE, tools, materials and hardware required to achieve the performance evidence

product information and manufacturers’ instructions for equipment and systems to be installed

AS/NZS 2201

NCC.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b