# CPPSEC3040 Coordinate installation of security equipment and systems

Release: 1

CPPSEC3040 Coordinate installation of security equipment and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC3040A Plan and coordinate installation of security equipment and system. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to plan, schedule and supervise the installation of a range of security equipment and systems.  It includes monitoring installation operations against work schedules, identifying and agreeing contingencies and variations to installation plans, and inspecting commissioning and test results to confirm equipment and systems are operational and comply with client requirements.

A person working at this level would be expected to take responsibility for organising and completing tasks assigned to them without close supervision.

Licensing, legislative or certification requirements apply to advising on, supplying, installing, maintaining, monitoring, repairing and servicing security equipment in some states and territories.  For further information, check with the relevant regulatory authority.

# Pre-requisite Unit

None.

# Unit Sector

Technical

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan and schedule installation of security equipment and system. | 1.1 | Review work instructions to confirm client requirements and installation timeframes. |
|  |  | 1.2 | Identify type of security equipment and system to be installed and organise resources needed to carry out installation. |
|  |  | 1.3 | Confirm installation site access requirements in consultation with relevant persons. |
|  |  | 1.4 | Schedule installation work within required timeframes and notify relevant persons. |
|  |  | 1.5 | Review and follow workplace policies and procedures including work health and safety when carrying out work tasks. |
| 2 | Organise security equipment and system installation. | 2.1 | Authorise commencement of installation work according to workplace requirements. |
|  |  | 2.2 | Monitor installation work against schedules and WHS requirements to ensure safe completion within agreed timeframes. |
|  |  | 2.3 | Identify issues and contingency requirements and agree variations to installation in consultation with relevant persons. |
|  |  | 2.4 | Adjust installation plan and communicate changes to relevant persons. |
| 3 | Check and document security equipment and system installation. | 3.1 | Receive notification of completed installation work and check activity against installation plan. |
|  |  | 3.2 | Select, check and use required personal protective equipment according to workplace requirements. |
|  |  | 3.3 | Visually inspect completed work to confirm installed equipment and system complies with client requirements and work instructions. |
|  |  | 3.4 | Inspect commissioning and test results against system performance specifications and report identified performance faults, errors or omissions. |
|  |  | 3.5 | Complete and securely store documentation associated with installation operation. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to interpret key requirements of:

plans and specifications when checking security equipment and system installations

manufacturers’ instructions

numeracy skills to schedule and sequence work completion within agreed timeframes.

# Unit Mapping Information

Supersedes and equivalent to CPPSEC3040A Plan and coordinate installation of security equipment and system.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPSEC3040 Coordinate installation of security equipment and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC3040A Plan and coordinate installation of security equipment and system. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by coordinating the installation of three different security equipment and systems to meet client requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when coordinating the installation of security equipment and systems:

health and safety including personal protective equipment (PPE)

contingency factors that may arise when installing security equipment and systems

documentation to be completed when coordinating security equipment and system installations

functions and operational parameters for a range of security equipment and systems:

access control systems

audible and visual warning devices

cameras and monitors

commercial and residential alarm systems

detection devices

electronic and mechanical fire safety and fire locking systems

electronic locks and locking systems

electronic readers

electronic screen equipment

intercoms and control panels

security doors and door controls

installation methods and procedures for a range of security equipment and systems

methods for identifying performance faults, errors or omissions when comparing commissioning and test results against system performance specifications

methods for supervising and checking work progress against installation plans and schedules

resource requirements for the installation of security equipment and systems

scheduling methods

typical hazards encountered when installing and inspecting security equipment and systems and the control measures for each:

confined spaces

electrical

hazardous materials and chemicals

people in the work area

power tools

vermin

work at heights.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

All individuals engaged by a licensed RTO for security licensing purposes must hold both a security trainers licence (where such a licence exists within the relevant jurisdiction) and the licence for performing the security activities for which the individual is providing training or assessment.  Regulators may impose other assessor conditions to meet jurisdictional assessment requirements.

Assessment must be conducted in the workplace or in a simulated workplace environment. Candidates must have access to:

workplace policies and procedures, work instructions, documentation and PPE for security equipment and system installations required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b