# Assessment Requirements for CPPSEC3042 Diagnose faults in video surveillance systems and equipment

Release: 1

Assessment Requirements for CPPSEC3042 Diagnose faults in video surveillance systems and equipment

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC3042A Identify and diagnose CCTV equipment and system fault. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by conducting testing and diagnostic procedures on two different video surveillance systems (VSS) and equipment to diagnose a minimum of three faults.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when diagnosing faults in VSS and equipment:

licensing requirements and limits of own authority

privacy requirements

reporting and documentation

requirements for complying with Australian Communications and Media Authority cabling rules

work health and safety

application of AS/NZS 2201.1:2007 Intruder alarm systems – Client’s premises – Design, installation, commissioning and maintenance (AS/NZS 2201) when diagnosing security equipment and system faults at client premises

cable identification methods and techniques

documentation to be completed when diagnosing faults in VSS and equipment

keypad and control panel types and functions for a range of VSS and equipment

materials, tools and equipment including personal protective equipment (PPE) used when diagnosing faults in VSS and equipment

methods for ensuring IP networked systems and equipment are properly secured

operational parameters and diagnostic testing procedures for a range of VSS and equipment:

audio systems

cameras:

pan-tilt-zoom and infra-red sensitive

image presentation:

display type, real-time surveillance, resolution and number of images

recording:

image compression, frame rates, resolution, storage capacity, basic metadata, playback and image export

system integration

operational principles of data transmission networks

types and functions of computer software associated with VSS and equipment

types of earthing systems used in electrical installations

types of electrical connections and circuits encountered when diagnosing faults in VSS and equipment, and circuit protection requirements

typical hazards encountered when diagnosing faults in VSS and equipment and the control measures for each:

confined spaces

electrical

hazardous materials and chemicals

people in the work area

power tools

vermin

work at heights.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

All individuals engaged by a licensed RTO for security licensing purposes must hold both a security trainers licence (where such a licence exists within the relevant jurisdiction) and the licence for performing the security activities for which the individual is providing training or assessment.  Regulators may impose other assessor conditions to meet jurisdictional assessment requirements.

Assessment must be conducted in the workplace or in a simulated workplace environment. Candidates must have access to:

workplace policies and procedures, work instructions, documentation, VSS and equipment, PPE, tools and materials required to achieve the performance evidence

VSS and equipment information to support diagnostic activities

AS/NZS 2201.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b