# Assessment Requirements for CPPSEC3043 Establish and test electronic monitoring parameters for security equipment and systems

Release: 1

Assessment Requirements for CPPSEC3043 Establish and test electronic monitoring parameters for security equipment and systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC3043A Establish and set up electronic monitoring parameters. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by establishing and testing electronic monitoring parameters for two different security equipment and systems.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when establishing and testing monitoring parameters for security equipment and systems:

documentation and reporting

licensing requirements and limits of own authority

privacy requirements

work health and safety

common electronic monitoring equipment and system configurations and programs

common faults and malfunctions in security equipment and systems used for electronic monitoring

common keypad and control panel types and functions associated with electronic security systems and equipment

computer software and software templates used for monitoring functions in security systems

key considerations when formulating monitoring parameters:

alarms

functions monitored

levels of access and access times

levels of integrity of systems

passwords and codes

recording functions

response requirements

documentation to be completed when establishing and testing monitoring parameters for security equipment and systems

methods for interpreting transmitted test data and comparing against test requirements to evaluate monitoring performance and functions

methods for testing and evaluating performance and functions of a range of electronic monitoring equipment and systems and identifying errors or deviations

operating principles and functions of a range of electronic monitoring equipment and systems

procedures for testing monitoring parameters

software templates for electronic security equipment and systems

types and operation of computer software used for monitoring functions.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

All individuals engaged by a licensed RTO for security licensing purposes must hold both a security trainers licence (where such a licence exists within the relevant jurisdiction) and the licence for performing the security activities for which the individual is providing training or assessment.  Regulators may impose other assessor conditions to meet jurisdictional assessment requirements.

Assessment must be conducted in the workplace or in a simulated workplace environment. Candidates must have access to:

workplace policies and procedures, computer, software, electronic security equipment and systems and associated documentation required to achieve the performance evidence.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b