# Assessment Requirements for CPPSEC3045 Assess security equipment and systems to specify required modifications

Release: 1

Assessment Requirements for CPPSEC3045 Assess security equipment and systems to specify required modifications

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC3045A Determine security equipment and system modifications. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by specifying required modifications to meet changed operational requirements of three different types of security equipment and systems.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when specifying modifications to security equipment and systems:

licensing requirements and limits of own authority

privacy requirements

reporting

work health and safety

configuration options for a range of security equipment and systems

considerations to ensure protection of IP networked security systems and equipment when specifying modifications

documentation to be completed when specifying modifications to security equipment and systems

materials, tools and equipment used when specifying modifications to security equipment and systems

methods for evaluating design options when selecting preferred modifications

principles of security system design, specifications and configurations

principles of security system programming and configuration

sources of historical information and operational data used when assessing functions and capabilities of security equipment and systems

techniques for drawing and drafting used when specifying modifications to security equipment and systems

types and functions of a range of security equipment and systems.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

All individuals engaged by a licensed RTO for security licensing purposes must hold both a security trainers licence (where such a licence exists within the relevant jurisdiction) and the licence for performing the security activities for which the individual is providing training or assessment.  Regulators may impose other assessor conditions to meet jurisdictional assessment requirements.

Assessment must be conducted in the workplace or in a simulated workplace environment. Candidates must have access to:

workplace policies and procedures, work instructions, documentation, equipment, tools and materials and security equipment and system information required to achieve the performance evidence

information technologies to source and present information to support work tasks.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b