# Assessment Requirements for CPPSEC3046 Develop security system configurations and specifications for client sites

Release: 1

Assessment Requirements for CPPSEC3046 Develop security system configurations and specifications for client sites

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC3046A Configure a security system. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by developing security system configurations and specifications to meet the requirements of three different client sites.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when developing security system specifications and configurations:

licensing requirements and limits of own authority

privacy requirements

reporting

requirements for complying with Australian Communications and Media Authority cabling rules

work health and safety

application of AS/NZS 2201.1:2007 Intruder alarm systems – Client’s premises – Design, installation, commissioning and maintenance (AS/NZS 2201) when programming and configuring security equipment and systems at client premises

configuration options for a range of security equipment and systems

documentation to be completed when developing security system specifications and configurations

installation considerations to ensure protection of IP networked security systems and equipment

materials, tools and equipment including personal protective equipment (PPE) used when specifying and configuring security systems and assessing client sites

principles of security system design, specifications and configurations

principles of security system programming and configuring

requirements for installing different security equipment and systems at client sites

techniques for drawing and drafting used when specifying and configuring security system installations

types and functions of a range of security equipment and systems

types of security risk factors associated with client sites

typical hazards encountered when assessing client sites and the control measures for each:

confined spaces

electrical

hazardous materials and chemicals

people in the work area

vermin.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

All individuals engaged by a licensed RTO for security licensing purposes must hold both a security trainers licence (where such a licence exists within the relevant jurisdiction) and the licence for performing the security activities for which the individual is providing training or assessment.  Regulators may impose other assessor conditions to meet jurisdictional assessment requirements.

Assessment must be conducted in the workplace or in a simulated workplace environment. Candidates must have access to:

workplace policies and procedures, work instructions, documentation, PPE, equipment and technologies, tools and materials required to achieve the performance evidence

security equipment and system and client site information required to achieve the performance evidence

AS/NZS 2201.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b