# Assessment Requirements for CPPSEC4014 Commission and decommission networked security systems

Release: 1

Assessment Requirements for CPPSEC4014 Commission and decommission networked security systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC4014A Commission and decommission networked security system. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by commissioning and decommissioning two different types of networked security systems.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when commissioning and decommissioning networked security systems:

licensing requirements and limits of own authority

requirements for complying with Australian Communications and Media Authority cabling rules

regulatory requirements in the jurisdiction of operation

work health and safety

application of AS/NZS 2201.1:2007 Intruder alarm systems – Client’s premises – Design, installation, commissioning and maintenance (AS/NZS 2201) and National Construction Code (NCC) when commissioning and decommissioning of security equipment and systems installed at clients’ premises

basic carpentry techniques used when commissioning and decommissioning security equipment and systems

cable identification and termination methods and techniques

common computer commands used to verify and manage internet protocol and network performance

documentation to be completed when commissioning and decommissioning security equipment and systems

fundamentals of routers, switches, firewalls and wireless access points

fundamentals of scripting language

keypad and control panel types and functions for a range of security equipment and systems

local area network and wide area network capabilities

meaning of multiple form factor authentication

principles of security system networking and integration including IP addresses and devices

methods for ensuring IP networked systems and equipment are properly secured

methods for installing software, setting non-software configurations and confirming hardware data is loaded when commissioning networked security systems

procedures for isolating existing services

procedures for safely terminating sources of energy when decommissioning networked security systems

soldering and drilling techniques used when commissioning and decommissioning networked security systems

testing procedures for commissioning a range of networked security systems:

access control systems

audible and visual warning devices

cameras and monitors

commercial and residential alarm systems

detection devices

electronic and mechanical fire safety and fire locking systems

electronic locks and locking systems

electronic readers

electronic screen equipment

intercoms and control panels

security doors and door controls

materials, tools, testing devices and equipment including personal protective equipment (PPE) used when commissioning and decommissioning networked security systems

network testing and monitoring tools and commands used to check network connectivity and continuity

types and functions of computer software associated with networked security systems

types of earthing systems used in electrical installations

types of electrical connections and circuits encountered when commissioning and decommissioning networked security systems, and circuit protection requirements

typical hazards encountered when commissioning and decommissioning networked security systems and the control measures for each:

confined spaces

electrical

hazardous materials and chemicals

people in the work area

power tools

vermin

work at heights.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

All individuals engaged by a licensed RTO for security licensing purposes must hold both a security trainers licence (where such a licence exists within the relevant jurisdiction) and the licence for performing the security activities for which the individual is providing training or assessment.  Regulators may impose other assessor conditions to meet jurisdictional assessment requirements.

Assessment must be conducted in the workplace or in a simulated workplace environment. Candidates must have access to:

legislation and licensing requirements that apply to commissioning and decommissioning networked security systems in the jurisdiction of operation

work instructions, documentation, networked security equipment and systems, PPE, tools and materials required to achieve the performance evidence

AS/NZS 2201

NCC.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b