# CPPSEC4014 Commission and decommission networked security systems

Release: 1

CPPSEC4014 Commission and decommission networked security systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC4014A Commission and decommission networked security system. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to commission and decommission a range of networked security systems. Commissioning includes establishing equipment interconnections and parameters, installing software, setting configurations, loading hardware data, testing performance and securing systems over internet protocol (IP) networks.  Decommissioning includes isolating existing services and terminating energy sources.

This unit is suitable for those using specialised knowledge to complete routine and non-routine tasks and using their own judgement to deal with predictable and sometimes unpredictable problems.

Legislative, regulatory or certification requirements apply in some states and territories to the provision of advice on security solutions, strategies, protocols and procedures. For further information, check with the relevant regulatory authority.

# Pre-requisite Unit

None.

# Unit Sector

Security/Risk management

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare to commission and decommission networked security system. | 1.1 | Access and interpret key requirements of legislation, regulations and workplace policies and procedures and apply to work instructions to ensure compliance. |
|  |  | 1.2 | Review work instructions to confirm client and site requirements and work timeframes. |
|  |  | 1.3 | Review AS/NZS 2201.1:2007 Intruder alarm systems – Client’s premises – Design, installation, commissioning and maintenance (AS/NZS 2201) and National Construction Code (NCC) to understand and apply requirements associated with commissioning and decommissioning networked security systems. |
|  |  | 1.4 | Review networked security system architecture and configuration documentation and source information to clarify commissioning and decommissioning requirements. |
|  |  | 1.5 | Review and comply with work health and safety (WHS) requirements when carrying out work instructions. |
| 2 | Plan and organise work tasks. | 2.1 | Plan and prioritise work tasks allowing sufficient time to meet work instructions. |
|  |  | 2.2 | Select and organise required materials, tools, testing devices and equipment including personal protective equipment and check for safe and correct operation. |
|  |  | 2.3 | Arrange access to networked security systems for commissioning and decommissioning in consultation with relevant persons. |
|  |  | 2.4 | Identify hazards in the work area and apply risk control measures. |
|  |  | 2.5 | Use safe work practices when working with electronic equipment and cables according to WHS requirements. |
| 3 | Commission networked security system. | 3.1 | Access networked security system and confirm equipment interconnections and parameters. |
|  |  | 3.2 | Review system specifications and confirm equipment interconnections and parameters. |
|  |  | 3.3 | Set up non-software configurations and confirm software is installed and hardware data loaded. |
|  |  | 3.4 | Conduct performance tests to ensure operation meets prescribed parameters and specifications. |
|  |  | 3.5 | Conduct procedures to ensure security of system connections over IP network. |
|  |  | 3.6 | Identify, document and report malfunctions or deviations from recommended specifications. |
|  |  | 3.7 | Conduct hand-over of commissioned networked security system. |
| 4 | Decommission networked security system. | 4.1 | Confirm networked security system for decommissioning. |
|  |  | 4.2 | Isolate existing services to protect operation of existing structures in consultation with relevant persons. |
|  |  | 4.3 | Safely terminate sources of energy according to manufacturers’ instructions and WHS requirements. |
|  |  | 4.4 | Remove networked security system and components according to work instructions. |
| 5 | Finalise commissioning and decommissioning activities and documentation. | 5.1 | Complete and secure commissioning and decommissioning documentation to maintain client confidentiality according to workplace and regulatory requirements. |
|  |  | 5.2 | Notify work completion to relevant persons. |
|  |  | 5.3 | Check tools and equipment for faults, wear or damage and rectify or report problems. |
|  |  | 5.4 | Clean and restore work area, remove waste caused by work tasks and dispose of decommissioned security system and components according to workplace requirements. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to interpret key requirements of:

specifications for networked system architecture and configuration

plans and specifications when locating networked security system and components for commissioning and decommissioning

Australian standards, NCC and manufacturers’ instructions

numeracy skills to interpret multimeter readings when testing commissioned networked security system.

# Unit Mapping Information

Supersedes and equivalent to CPPSEC4014A Commission and decommission networked security system.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPSEC4014 Commission and decommission networked security systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC4014A Commission and decommission networked security system. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by commissioning and decommissioning two different types of networked security systems.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when commissioning and decommissioning networked security systems:

licensing requirements and limits of own authority

requirements for complying with Australian Communications and Media Authority cabling rules

regulatory requirements in the jurisdiction of operation

work health and safety

application of AS/NZS 2201.1:2007 Intruder alarm systems – Client’s premises – Design, installation, commissioning and maintenance (AS/NZS 2201) and National Construction Code (NCC) when commissioning and decommissioning of security equipment and systems installed at clients’ premises

basic carpentry techniques used when commissioning and decommissioning security equipment and systems

cable identification and termination methods and techniques

common computer commands used to verify and manage internet protocol and network performance

documentation to be completed when commissioning and decommissioning security equipment and systems

fundamentals of routers, switches, firewalls and wireless access points

fundamentals of scripting language

keypad and control panel types and functions for a range of security equipment and systems

local area network and wide area network capabilities

meaning of multiple form factor authentication

principles of security system networking and integration including IP addresses and devices

methods for ensuring IP networked systems and equipment are properly secured

methods for installing software, setting non-software configurations and confirming hardware data is loaded when commissioning networked security systems

procedures for isolating existing services

procedures for safely terminating sources of energy when decommissioning networked security systems

soldering and drilling techniques used when commissioning and decommissioning networked security systems

testing procedures for commissioning a range of networked security systems:

access control systems

audible and visual warning devices

cameras and monitors

commercial and residential alarm systems

detection devices

electronic and mechanical fire safety and fire locking systems

electronic locks and locking systems

electronic readers

electronic screen equipment

intercoms and control panels

security doors and door controls

materials, tools, testing devices and equipment including personal protective equipment (PPE) used when commissioning and decommissioning networked security systems

network testing and monitoring tools and commands used to check network connectivity and continuity

types and functions of computer software associated with networked security systems

types of earthing systems used in electrical installations

types of electrical connections and circuits encountered when commissioning and decommissioning networked security systems, and circuit protection requirements

typical hazards encountered when commissioning and decommissioning networked security systems and the control measures for each:

confined spaces

electrical

hazardous materials and chemicals

people in the work area

power tools

vermin

work at heights.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

All individuals engaged by a licensed RTO for security licensing purposes must hold both a security trainers licence (where such a licence exists within the relevant jurisdiction) and the licence for performing the security activities for which the individual is providing training or assessment.  Regulators may impose other assessor conditions to meet jurisdictional assessment requirements.

Assessment must be conducted in the workplace or in a simulated workplace environment. Candidates must have access to:

legislation and licensing requirements that apply to commissioning and decommissioning networked security systems in the jurisdiction of operation

work instructions, documentation, networked security equipment and systems, PPE, tools and materials required to achieve the performance evidence

AS/NZS 2201

NCC.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b