# CPPSEC4016 Install networked security systems

Release: 1

CPPSEC4016 Install networked security systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC4016A Install networked security system. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to install a range of networked security systems.  It includes installing and configuring a range of software, hardware and new components in a network and performing tests to determine operational effectiveness.

This unit is suitable for those using specialised knowledge to complete routine and non-routine tasks and using their own judgement to deal with predictable and sometimes unpredictable problems.

Legislative, regulatory or certification requirements apply in some states and territories to the provision of advice on security solutions, strategies, protocols and procedures. For further information, check with the relevant regulatory authority.

# Pre-requisite Unit

None.

# Unit Sector

Security/Risk management

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare to install networked security system. | 1.1 | Access and interpret key requirements of legislation, regulations and workplace policies and procedures, including work health and safety (WHS), and apply to work instructions to ensure compliance. |
|  |  | 1.2 | Review work instructions to confirm client and site requirements and work timeframes. |
|  |  | 1.3 | Review AS/NZS 2201.1:2007 Intruder alarm systems – Client’s premises – Design, installation, commissioning and maintenance (AS/NZS 2201) and National Construction Code (NCC) to understand and apply requirements associated with installing networked security systems. |
|  |  | 1.4 | Review security system architecture and configuration documentation and source information to clarify installation requirements. |
|  |  | 1.5 | Confirm location and availability of networked security system components. |
| 2 | Plan and organise work tasks. | 2.1 | Plan and prioritise work tasks allowing sufficient time to meet work instructions. |
|  |  | 2.2 | Select and organise required materials, tools, testing devices and equipment including personal protective equipment and check for safe and correct operation. |
|  |  | 2.3 | Arrange access to installation site in consultation with relevant persons. |
|  |  | 2.4 | Identify hazards in the work area and apply risk control measures. |
|  |  | 2.5 | Use safe work practices when working with electronic equipment and cables according to WHS requirements. |
| 3 | Perform installation of networked security system. | 3.1 | Obtain authorisation to install networked security system according to workplace requirements. |
|  |  | 3.2 | Isolate circuits according to WHS requirements. |
|  |  | 3.3 | Install cabling and check to ensure compliance with regulatory requirements. |
|  |  | 3.4 | Install networked security system hardware, software and components according to manufacturers’ instructions. |
|  |  | 3.5 | Configure system hardware and software according to manufacturers’ instructions and work instructions. |
|  |  | 3.6 | Conduct procedures to ensure security of system connections over internet protocol network. |
|  |  | 3.7 | Conduct performance tests to ensure system operation meets prescribed parameters and specifications. |
| 4 | Finalise installation and documentation. | 4.1 | Complete and secure installation documentation to maintain client confidentiality. |
|  |  | 4.2 | Notify work completion to relevant persons. |
|  |  | 4.3 | Check tools and equipment for faults, wear or damage and rectify or report problems. |
|  |  | 4.4 | Clean and restore work area and remove waste caused by installation tasks. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to interpret key requirements of:

specifications for networked system architecture and configuration

plans and specifications when locating networked security system and components for installation

Australian standards, NCC and manufacturers’ instructions

numeracy skills to interpret multimeter readings when testing installed networked security system.

# Unit Mapping Information

Supersedes and equivalent to CPPSEC4016A Install networked security system.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b