# Assessment Requirements for CPPSEC4018 Program and configure networked security systems

Release: 1

Assessment Requirements for CPPSEC4018 Program and configure networked security systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC4018A Configure security devices on IT networks. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by programming and configuring three different internet protocol (IP) networked security systems.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when programming and configuring networked security systems:

licensing requirements and limits of own authority

requirements for complying with Australian Communications and Media Authority cabling rules

work health and safety

cable identification methods and techniques

common computer commands used to verify and manage internet protocol and network performance

difference between programming and configuration of security equipment and systems

documentation to be completed when programming and configuring networked security systems to ensure compliance with licensing and warranty requirements

fundamentals of routers, switches, firewalls and wireless access points

fundamentals of scripting language

keypad and control panel types and functions for a range of security equipment and systems

local area network and wide area network capabilities

meaning of multiple form factor authentication

methods for ensuring IP networked systems and equipment are properly secured

principles of security system networking and integration including IP addresses and devices

tests to confirm correct configurations, operation and connections for networked security systems

tools and equipment including personal protective equipment (PPE) used when programming and configuring networked security systems at client sites

types, functions and features of computerised, electronic and manual security equipment and systems that require programming and configuration:

access control systems

audible and visual warning devices

cameras and monitors

commercial and residential alarm systems

detection devices

electronic and mechanical fire safety and fire locking systems

electronic locks and locking systems

electronic readers

electronic screen equipment

intercoms and control panels

security doors and door controls

types of earthing systems used in electrical installations

typical hazards encountered when programming and configuring networked security systems and the control measures for each:

confined spaces

electrical

hazardous materials and chemicals

hidden utilities

people in the work area

power tools

vermin.

# Assessment Conditions

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad