# CPPSEC4018 Program and configure networked security systems

Release: 1

CPPSEC4018 Program and configure networked security systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC4018A Configure security devices on IT networks. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to program and configure a range of security systems and networks. It includes identifying configuration requirements and parameters for the type of security system and network, and conducting programming, configurations and testing to ensure the system operates correctly and meets client requirements.

This unit is suitable for those using specialised knowledge to complete routine and non-routine tasks and using their own judgement to deal with predictable and sometimes unpredictable problems.

Legislative, regulatory or certification requirements apply in some states and territories to the provision of advice on security solutions, strategies, protocols and procedures. For further information, check with the relevant regulatory authority.

# Pre-requisite Unit

Nil.

# Unit Sector

Security/Risk management

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Confirm security system and network requirements. | 1.1 | Access and interpret key requirements of legislation, regulations and workplace policies and procedures, including work health and safety (WHS), and apply to work instructions to ensure compliance. |
|  |  | 1.2 | Review work instructions to confirm client requirements and work timeframes. |
|  |  | 1.3 | Obtain and confirm security system installation specifications and network configurations. |
|  |  | 1.4 | Review installation documentation to confirm equipment, cabling and connection requirements. |
|  |  | 1.5 | Check proposed configurations against operational parameters and specifications for security system and type of network. |
| 2 | Plan and organise work tasks. | 2.1 | Plan and prioritise work tasks allowing sufficient time to meet work instructions. |
|  |  | 2.2 | Select and organise required materials, tools, testing devices and equipment including personal protective equipment and check for safe and correct operation. |
|  |  | 2.3 | Arrange access to security system and network in consultation with relevant persons. |
|  |  | 2.4 | Identify hazards in the work area and apply risk control measures. |
| 3 | Conduct system and network programming and configuration. | 3.1 | Access networked security system with minimal disruption to services and others in the work area. |
|  |  | 3.2 | Use safe work practices when working with electronic equipment and cables according to WHS requirements. |
|  |  | 3.3 | Assess security system design and existing infrastructure to identify and verify program parameters. |
|  |  | 3.4 | Install and program system software according to manufacturers’ instructions. |
|  |  | 3.5 | Configure and secure networked security system according to work instructions. |
| 4 | Inspect and test network configurations. | 4.1 | Test networked security system to confirm correct configuration, operation and connections. |
|  |  | 4.2 | Inspect networked security system configuration and confirm compliance with regulatory and client requirements. |
|  |  | 4.3 | Identify and rectify or report configuration faults or deficiencies. |
| 5 | Finalise work tasks and complete documentation. | 5.1 | Notify completion of work to relevant persons. |
|  |  | 5.2 | Complete documentation detailing work undertaken and identified faults or deficiencies according to workplace and regulatory requirements. |
|  |  | 5.3 | Check tools and equipment for faults, wear or damage and rectify or report problems. |
|  |  | 5.4 | Restore work area to original condition and remove waste caused by work tasks. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to interpret key requirements of:

specifications for networked system architecture and configuration

system installation plans and specifications

manufacturers’ instructions

numeracy skills to interpret multimeter readings when installing and programming networked security system.

# Unit Mapping Information

Supersedes and equivalent to CPPSEC4018A Configure security devices on IT networks.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPPSEC4018 Program and configure networked security systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSEC4018A Configure security devices on IT networks. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by programming and configuring three different internet protocol (IP) networked security systems.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

workplace policies and procedures that ensure compliance with legislative and regulatory requirements when programming and configuring networked security systems:

licensing requirements and limits of own authority

requirements for complying with Australian Communications and Media Authority cabling rules

work health and safety

cable identification methods and techniques

common computer commands used to verify and manage internet protocol and network performance

difference between programming and configuration of security equipment and systems

documentation to be completed when programming and configuring networked security systems to ensure compliance with licensing and warranty requirements

fundamentals of routers, switches, firewalls and wireless access points

fundamentals of scripting language

keypad and control panel types and functions for a range of security equipment and systems

local area network and wide area network capabilities

meaning of multiple form factor authentication

methods for ensuring IP networked systems and equipment are properly secured

principles of security system networking and integration including IP addresses and devices

tests to confirm correct configurations, operation and connections for networked security systems

tools and equipment including personal protective equipment (PPE) used when programming and configuring networked security systems at client sites

types, functions and features of computerised, electronic and manual security equipment and systems that require programming and configuration:

access control systems

audible and visual warning devices

cameras and monitors

commercial and residential alarm systems

detection devices

electronic and mechanical fire safety and fire locking systems

electronic locks and locking systems

electronic readers

electronic screen equipment

intercoms and control panels

security doors and door controls

types of earthing systems used in electrical installations

typical hazards encountered when programming and configuring networked security systems and the control measures for each:

confined spaces

electrical

hazardous materials and chemicals

hidden utilities

people in the work area

power tools

vermin.

# Assessment Conditions

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad