# Assessment Requirements for CPPSPS3001 Handle, transport and store swimming pool and spa chemicals safely

Release: 1

Assessment Requirements for CPPSPS3001 Handle, transport and store swimming pool and spa chemicals safely

# Modification History

Release 1.

Supersedes and is equivalent to CPPSPS3001A.

Unit of competency upgraded to reflect Standards for Training Packages 2012.

This version first released with CPP Property Services Training Package Version 6.0.

# Performance Evidence

To demonstrate competency in this unit, a person must demonstrate safe procedures when handling, transporting and storing swimming pool and spa chemicals safely on two different occasions.

In doing this, the person must meet the performance criteria for this unit.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

requirements of jurisdictional work health and safety and environmental legislation and regulations relating to handling, transporting and storing swimming pool and spa chemicals safely

workplace requirements for undertaking all aspects of handling, transporting and storing swimming pool and spa chemicals, including:

workplace health and safety procedures

workplace emergency procedures

use of safety data sheets (SDSs)

safe handling of chemicals and equipment

interpreting work orders and reporting problems

chemical handling, storage and disposal including;

chemical disposal principles

chemical safety principles and reasons and procedures for segregating chemicals

chemical storage requirements

purpose and types of chemical storage inventory and records systems

processes for calculating and recording quantities of used and unused chemicals in chemical storage inventory

Commonwealth, state or territory legislation, and local government regulations impacting on the handling, transport and storage of swimming pool and spa chemicals relating to:

dangerous goods

environmental protection

health

licensing requirements in relation to chemical transport and storage

work health and safety (WHS)

waste disposal

handling, transport and storage requirements for different types of swimming pool and spa chemicals

processes for clearing and cleaning up chemical spillages and leakages

requirements for disposing of excess, unwanted and out-of-date swimming pool and spa chemicals

requirements for disposing of used chemical containers

types, uses and properties of swimming pool and spa chemicals, including:

algaecides

balancers

clarifiers and flocculants

oxidisers

sanitisers

specialised chemicals

water balancing chemicals

reactive properties of swimming pool and spa chemicals

situations in which chemicals may become hazardous

reactive material hazards responses:

emergency action plans

firefighting

incident reporting procedures

risk triggers, including:

improper mixing

wetting

risk control measures for:

chemicals, including safe chemical use principles and compliance with labels and instructions

dust prevention

fire prevention

keeping swimming pool and spa chemicals dry

adequate ventilation

types and uses of PPE used in safe handling and transporting swimming pool and spa chemicals.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or in a simulated workplace environment. Tasks are to be performed to the level of proficiency and within the time limits expected in a workplace.

Assessors are responsible for ensuring that the person demonstrating competency has access to:

work site/s and specifications to handle and transport swimming pool and spa chemicals safely

appropriate documents, SDSs, materials, tools, equipment and PPE currently used in industry

requirements of appropriate sections of legislation and regulations

relevant workplace policies and procedures.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b