# Assessment Requirements for CPPSPS3003 Maintain swimming pools and spas

Release: 1

Assessment Requirements for CPPSPS3003 Maintain swimming pools and spas

# Modification History

Release 1.

Supersedes and is equivalent to CPPSPS3003A.

Unit of competency upgraded to reflect Standards for Training Packages 2012.

This version first released with CPP Property Services Training Package Version 6.0.

# Performance Evidence

To demonstrate competency in this unit, a person must perform routine maintenance of each of two swimming pools and two spas.

In doing this, the person must meet the performance criteria for this unit.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

requirements of jurisdictional work health and safety and environmental legislation and regulations relating to routinely maintaining swimming pools and spas

workplace requirements for undertaking all aspects of routinely maintaining swimming pools and spas, including:

work health and safety procedures

workplace emergency procedures

use of safety data sheets (SDSs) and selection, care and use of PPE

safe handling of chemicals and equipment

emergency responses relating to hazardous materials and chemicals

interpreting work orders and reporting problems

Australian Competition and Consumer Commission product safety guidelines and Commonwealth, state or territory legislation, and local government regulations, Australian Standards, and codes of practice impacting on the routine maintenance of swimming pools and spas relating to:

electrical and plumbing regulations controlling conduct of electrical and plumbing work

private and public swimming pools and spas

swimming pool and spa safety barriers

environmental health

waste disposal

tools, materials and equipment used in routine maintenance of swimming pools and spas, their application and requirements for safe use

processes to identify hazards, assess risks and determine and implement risk control measures in routine maintenance of swimming pools and spas

personal protective equipment (PPE) requirements and use in routine maintenance of swimming pools and spas

processes and requirements for inspection and assessment of swimming pools and spas for operational effectiveness and safe operation

requirements for routine servicing of swimming pools and spas

differences between hot and cold-water chemistry

swimming pool and spa routine maintenance and repairs, including:

purpose

common faults in pools and spas

hazards

routine maintenance procedures for:

barriers

brushing

pumps

reporting

routine repairs

tile cleaning

vacuuming

water balancing

testing water quality

water testing

routine servicing, maintenance and repairs of a swimming pool or spa, including:

addressing seasonal requirements

brushing pool

carrying out routine repairs to pool and spa systems

checking swimming pool and spa safety barriers and gates

checking and cleaning skimmer basket and hair and lint-pot basket

checking and maintaining:

pool blankets and rollers, if present

pool chlorinators, if present

pool cleaning equipment

pool filters

pool heating, if present

pump

signs and safety equipment

water level

checking operation of pool lighting

checking suction openings in gutters and skimmers for debris

checking that handrails, ladders, diving boards, slides and other equipment are secure and in good condition

checking that return inlet fittings and vacuum line covers are in place

checking tiles, including water line and gutter tile

maintaining sanitisation

recording routine maintenance activities and required follow-up actions

vacuuming pool

checking water quality

testing and balancing water

processes for:

reinstating a swimming pool and spa to safe operational condition after routine servicing

restoring work area after routine servicing

disposing of waste

cleaning and storing tools and equipment

providing client with information on compliance of swimming pool or spa and environs with safety legislation

completing workplace documents on routine maintenance of swimming pool or spa.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or in a simulated workplace environment. Tasks are to be performed to the level of proficiency and within the time limits expected in a workplace.

Assessors are responsible for ensuring that the person demonstrating competency has access to:

work site/s and specifications to routinely maintain swimming pools and spas

appropriate documents, SDSs, manufacturers’ instructions, materials, tools, equipment and PPE currently used in industry

requirements of appropriate sections of legislation and regulations

relevant workplace policies and procedures.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b