# Assessment Requirements for CPPSPS3004 Maintain swimming pool and spa water circulation and filtration systems

Release: 1

Assessment Requirements for CPPSPS3004 Maintain swimming pool and spa water circulation and filtration systems

# Modification History

Release 1.

Supersedes and is equivalent to CPPSPS3004A.

Unit of competency upgraded to reflect Standards for Training Packages 2012.

This version first released with CPP Property Services Training Package Version 6.0.

# Performance Evidence

To demonstrate competency in this unit, a person must perform routine maintenance of water circulation and filtration systems of each of two swimming pools and two spas.

In doing this, the person must meet the performance criteria for this unit.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

requirements of jurisdictional work health and safety and environmental legislation and regulations relating to routinely maintaining swimming pool and spa water circulation and filtration systems

workplace requirements for undertaking all aspects of routinely maintaining swimming pool and spa water circulation and filtration systems, including:

work health and safety procedures

workplace emergency procedures

use of safety data sheets (SDSs)

safe handling of chemicals and equipment

emergency responses relating to hazardous materials and chemicals

interpreting work orders and reporting problems

Australian Competition and Consumer Commission product safety guidelines and Commonwealth, state or territory legislation, and local government regulations, Australian Standards, and codes of practice impacting on the routine maintenance of swimming pool and spa water circulation and filtration systems relating to:

electrical and plumbing regulations controlling conduct of electrical and plumbing work

private and public swimming pools and spas

swimming pool and spa safety barriers

environmental health

waste disposal

processes to identify hazards, assess risks and determine and implement risk control measures in routine maintenance of swimming pool and spa water circulation and filtration systems, including:

chemical hazards

electrical hazards

bacteria, viruses

bodily fluids

contaminated water and surfaces

working in confined spaces

tools, materials and equipment used in routine maintenance of swimming pools and spas water circulation and filtration systems, their application and requirements for safe use

personal protective equipment (PPE) requirements and use in routine maintenance of swimming pool and spa water circulation and filtration systems

processes and requirements for inspection and assessment of swimming pool and spa water circulation and filtration systems for operational effectiveness and safe operation

requirements for routine servicing of swimming pool and spa water circulation and filtration systems

testing and overflow testing

filtration principles

flow rate

direction suction

types of filters

filter area

filter media changeover

water removal

swimming pool and spa water circulation and filtration systems’ components, including:

circulation systems and pumps

control systems

dosing systems

gauges used to determine circulation performance

motors

piping

pressure side elements

suction side elements

valves

processes for:

reporting faults, wear or damage

providing client with information on compliance of swimming pool and spa water circulation and filtration systems and environs with safety legislation

reinstating swimming pool and spa water circulation and filtration systems to safe operational condition after routine servicing

restoring work area after routine servicing

disposing of waste

cleaning and storing tools and equipment

completing workplace documents on routine maintenance of swimming pool and spa water circulation and filtration systems

differences between hot and cold-water chemistry.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or in a simulated workplace environment. Tasks are to be performed to the level of proficiency and within the time limits expected in a workplace.

Assessors are responsible for ensuring that the person demonstrating competency has access to:

work site/s and specifications for routine maintenance of swimming pools and spas water circulation and filtration systems

appropriate documents, SDSs, manufacturers’ instructions, materials, tools, equipment and PPE currently used in industry

requirements of appropriate sections of legislation and regulations

relevant workplace policies and procedures.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b