# CPPSPS3005 Maintain swimming pool and spa dosing systems

Release: 1

CPPSPS3005 Maintain swimming pool and spa dosing systems

# Modification History

Release 1.

Supersedes and is equivalent to CPPSPS3005A.

Unit of competency upgraded to reflect Standards for Training Packages 2012.

This version first released with CPP Property Services Training Package Version 6.0.

# Application

This unit of competency specifies the skills and knowledge required to carry out routine maintenance of swimming pool and spa dosing systems.

It includes:

preparing for and carrying out maintenance to swimming pool and spa dosing systems

assessing hazards and determining risk controls, including pool and spa safety barriers

completing maintenance and minor repair activities, including work completion records.

It applies to swimming pool and spa technicians, and related industry professionals and specialists, with limited supervisory responsibilities who perform their duties alone or as members of a team.

No licensing, legislative, regulatory, or certification requirements apply to this unit of competency at the time of endorsement.

# Pre-requisite Unit

Nil

# Unit Sector

Swimming pool and spa servicing

# Elements and Performance Criteria

| Elements describe the essential outcomes. | Performance criteria describe what needs to be done to demonstrate achievement of the element. |
| --- | --- |
| 1. Prepare for routine maintenance of swimming pool and spa dosing systems. | 1.1 Review task requirements for routine maintenance of swimming pool and spa dosing systems. 1.2 Review requirements of legislation relating to the task. 1.3 Review work health and safety (WHS) requirements for the task, in accordance with safety plans, policies and safety data sheets (SDSs). 1.4 Identify hazards, assess risks and determine and implement risk control measures including requirements for safety signage, barricade and personal protective equipment (PPE). 1.5 Review environmental requirements for the task in accordance with environmental plans and legislative requirements. 1.6 Inspect and assess swimming pool and spa dosing systems and environs for operational effectiveness and safe operation against normal operating criteria. 1.7 Select tools and equipment, check for serviceability and rectify or report any faults. 1.8 Select materials for task and check against quality requirements. |
| 2. Carry out routine maintenance of swimming pool and spa dosing systems. | 2.1 Carry out all work in accordance with task, workplace and legislative requirements. 2.2 Implement identified risk control measures, including erecting safety signage and barricades, and fitting PPE. 2.3 Carry out routine servicing of swimming pool and spa dosing systems in accordance with manufacturers’ specifications and workplace requirements. 2.4 Identify faults in swimming pool or spa dosing systems and make routine repairs or report faults and requirements for repairs. |
| 3. Complete maintenance of swimming pool and spa dosing systems. | 3.1 Reinstate serviced swimming pool and spa dosing systems to safe operational condition. 3.2 Restore work area to original condition and check for and rectify or report safety hazards, dispose of waste in accordance with environmental requirements, and clean and store tools and equipment. 3.3 Report for repair or replacement any malfunctions, faults, wear or damage to swimming pool and spa dosing systems, environs, tools and equipment. 3.4 Provide client with information on compliance with safety legislation of swimming pool and spa dosing systems and environs. 3.5 Complete and store work completion documentation. |

# Foundation Skills

This section describes the language, literacy, numeracy and employment skills essential to performance in this unit but not explicit in the performance criteria:

reading skills to:

interpret task documentation

understand written instructions, procedures and signs

access information in safety data sheets (SDSs)

interpret manufacturers’ instructions and workplace requirements

writing skills to report faults and record work completion information

numeracy skills to interpret numerical information relating to routine swimming pool and spa dosing systems maintenance

oral communication skills to:

use questioning to identify and confirm requirements

provide client with information

report work site hazards.

# Unit Mapping Information

Supersedes and is equivalent to CPPSPS3005A Routinely maintain swimming pool and spa dosing systems.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPSPS3005 Maintain swimming pool and spa dosing systems

# Modification History

Release 1.

Supersedes and is equivalent to CPPSPS3005A.

Unit of competency upgraded to reflect Standards for Training Packages 2012.

This version first released with CPP Property Services Training Package Version 6.0.

# Performance Evidence

To demonstrate competency in this unit, a person must perform routine maintenance of dosing systems of each of two swimming pools and two spas.

In doing this, the person must meet the performance criteria for this unit.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

requirements of jurisdictional work health and safety and environmental legislation and regulations relating to routinely maintaining swimming pool and spa dosing systems

workplace requirements for undertaking all aspects of routinely maintaining swimming pool and spa dosing systems, including:

work health and safety procedures

workplace emergency procedures

use of safety data sheets (SDSs)

safe handling of chemicals and equipment

emergency responses relating to hazardous materials and chemicals

interpreting work orders and reporting problems

Australian Competition and Consumer Commission product safety guidelines and Commonwealth, state or territory legislation, and local government regulations, Australian Standards, and codes of practice impacting on the routine maintenance of swimming pool and spa dosing systems relating to:

electrical and plumbing regulations controlling conduct of electrical and plumbing work

private and public swimming pools and spas

swimming pool and spa safety barriers

environmental health

waste disposal

processes to identify hazards, assess risks and determine and implement risk control measures in routine maintenance of swimming pool and spa dosing systems, including:

chemical hazards

electrical hazards

bacteria, viruses

bodily fluids

contaminated water and surfaces

working in confined spaces

tools, materials and equipment used in routine maintenance of swimming pool and spa dosing systems, their application and requirements for safe use

personal protective equipment (PPE) requirements and use in routine maintenance of swimming pool and spa dosing systems

processes and requirements for inspection and assessment of swimming pool and spa dosing systems for operational effectiveness and safe operation

requirements for routine servicing of swimming pool and spa dosing systems

maintenance processes and procedures for:

dosing control systems

erosion feeders or flow-through chemical feed systems: pressure differential feeders,

pressure erosion dry chemical feeders, pressure to vacuum feeders, and spray erosion dry chemical feeders

gas feed systems, excluding chlorine gas systems: carbon dioxide and ozone

ionisers

liquid solution feeds

salt water pool chlorinators: brine method and in-line

ultraviolet (UV) system

swimming pool and spa dosing systems equipment and tools, including

electrically interlocking chemical feeder and pool pump systems:

procedure

purpose

water testing:

parameters

techniques

test results

processes for:

reporting faults, wear or damage

providing client with information on compliance with safety legislation of swimming pool and spa dosing systems and environs

reinstating a swimming pool and spa dosing systems to safe operational condition after routine servicing

restoring work area after routine servicing

disposing of waste

cleaning and storing tools and equipment

providing client with information on compliance of swimming pool or spa dosing systems and environs with safety legislation

completing workplace documents on routine maintenance of swimming pool or spa dosing systems

differences between hot and cold-water chemistry.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or in a simulated workplace environment. Tasks are to be performed to the level of proficiency and within the time limits expected in a workplace.

Assessors are responsible for ensuring that the person demonstrating competency has access to:

work site/s and specifications for routine maintenance of swimming pool and spa dosing systems

appropriate documents, SDSs, manufacturers’ instructions, materials, tools, equipment and PPE currently used in industry

requirements of appropriate sections of legislation and regulations

relevant workplace policies and procedures.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b