# Assessment Requirements for CPPSPS3006 Maintain swimming pool and spa cleaning and vacuuming systems

Release: 1

Assessment Requirements for CPPSPS3006 Maintain swimming pool and spa cleaning and vacuuming systems

# Modification History

Release 1.

Supersedes and is equivalent to CPPSPS3006A.

Unit of competency upgraded to reflect Standards for Training Packages 2012.

This version first released with CPP Property Services Training Package Version 6.0.

# Performance Evidence

To demonstrate competency in this unit, a person must perform routine maintenance of the cleaning and vacuuming systems in each of two swimming pools.

In doing this, the person must meet the performance criteria for this unit.

# Knowledge Evidence

To be competent in this unit, a person must demonstrate knowledge of:

requirements of jurisdictional work health and safety and environmental legislation and regulations relating to routinely maintaining swimming pool cleaning and vacuuming systems

workplace requirements for undertaking all aspects of routinely maintaining swimming pool cleaning and vacuuming systems, including:

work health and safety procedures

workplace emergency procedures

use of safety data sheets (SDSs)

emergency responses relating to hazardous materials and chemicals

interpreting work orders and reporting problems

Australian Competition and Consumer Commission product safety guidelines and Commonwealth, state or territory legislation, and local government regulations, Australian Standards, and codes of practice impacting on the routine maintenance of swimming pool cleaning and vacuuming systems relating to:

electrical and plumbing regulations controlling conduct of electrical and plumbing work

private and public swimming pools

swimming pool safety barriers

environmental health

waste disposal

processes to identify hazards, assess risks and determine and implement risk control measures in routine maintenance of swimming pool cleaning and vacuuming systems, including:

chemical hazards

electrical hazards

bacteria, viruses

bodily fluids

contaminated water and surfaces

working in confined spaces

tools, materials and equipment used in routine maintenance of swimming pool cleaning and vacuuming systems, their application and requirements for safe use

personal protective equipment (PPE) requirements and use in routine maintenance of swimming pool cleaning and vacuuming systems

processes and requirements for inspection and assessment of swimming pool cleaning and vacuuming systems for operational effectiveness and safe operation

requirements for routine servicing of swimming pool cleaning and vacuuming systems

swimming pool cleaning and vacuuming systems equipment and tools, including:

built-in floor systems

electric self-propelled cleaners

pressure cleaners

suction cleaners

communications equipment

computer and software

hand tools

power tools

processes for:

reporting faults, wear or damage

providing client with information on compliance with safety legislation of swimming pool cleaning and vacuuming systems and environs

reinstating a swimming pool cleaning and vacuuming systems to safe operational condition after routine servicing

restoring work area after routine servicing

disposing of waste

cleaning and storing tools and equipment

providing client with information on compliance of swimming pool cleaning and vacuuming systems and environs with safety legislation

completing workplace documents on routine maintenance of swimming pool cleaning and vacuuming systems.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment of performance must be undertaken in the workplace or in a simulated workplace environment. Tasks are to be performed to the level of proficiency and within the time limits expected in a workplace.

Assessors are responsible for ensuring that the person demonstrating competency has access to:

work site/s and specifications for routine maintenance of swimming pool cleaning and vacuuming systems

appropriate documents, SDSs, manufacturers’ instructions, materials, tools, equipment and PPE currently used in industry

requirements of appropriate sections of legislation and regulations

relevant workplace policies and procedures.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b