# Assessment Requirements for CPPSPS4004 Install and repair swimming pool and spa cleaning and vacuuming systems

Release: 1

Assessment Requirements for CPPSPS4004 Install and repair swimming pool and spa cleaning and vacuuming systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4004A Install, service and repair swimming pool and spa cleaning and vacuuming systems. Minor title change. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing. Element 3 changed from Service to Maintain. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

installing and testing different types cleaning and vacuuming systems or components in two swimming pools and one spa

applying technical knowledge and advanced diagnostic skills to identify and repair two faults in different swimming pool cleaning and vacuuming systems in line with regulatory requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

key requirements of relevant Commonwealth, state or territory, and local government regulations and Australian standards related to swimming pool and spa servicing:

work health and safety

public health

dangerous goods

environment and waste disposal

Australian Competition and Consumer Commission product safety guidelines

electrical and plumbing regulations related to own work

enterprise policies and procedures related to:

compliance with regulations

maintenance of knowledge of regulations

roles, responsibilities and limitations of own role

work instructions:

site requirements, including access

personal protective clothing and equipment requirements

equipment and systems location information

system information

warranties and guarantees

hazards and risks associated with installation and repair of cleaning and vacuuming systems

types of swimming pool and spa cleaning and vacuuming systems:

built-in floor systems

pressure cleaners

suction cleaners

manual vacuum systems

sweepers

Venturi vacuum type cleaners

robotic pool cleaners

deck suction vacuum systems in commercial swimming pools

purpose and operating principles of cleaning and vacuum systems

components of cleaning and vacuum systems

common faults of cleaning and vacuum systems

maintenance procedures:

cleaning

inspection

bleeding air from hose line.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be undertaken in the workplace or in a simulated workplace environment.

Candidates must be provided with:

relevant manufacturer instructions, regulations, codes, standards and enterprise policies and procedures

relevant tools and equipment, personal protection equipment (PPE)

technical references with current information on swimming pool and spa cleaning and vacuuming systems:

operating principles

components

faults and troubleshooting.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b