# CPPSPS4004 Install and repair swimming pool and spa cleaning and vacuuming systems

Release: 1

CPPSPS4004 Install and repair swimming pool and spa cleaning and vacuuming systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4004A Install, service and repair swimming pool and spa cleaning and vacuuming systems. Minor title change. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing. Element 3 changed from Service to Maintain. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to install, test and repair swimming pool and spa cleaning and vacuuming systems.

This unit is suitable for swimming pool and spa technicians who work independently using specialised knowledge and skills to solve predictable and unpredictable problems in swimming pool and spa cleaning and vacuuming systems in accordance with regulatory requirements in:

private swimming pools and spas

public swimming pools and spas, including:

hydrotherapy and therapeutic exercise pools

wading and receiving pools associated with water slides

wave pools.

All work must be carried out to comply with workplace procedures, in accordance with state/territory work health and safety (WHS), regulations and legislation that applies to the workplace. Legislative and regulatory requirements apply to swimming pool and spa technicians but vary according to state/territory jurisdictions. Users must check with the relevant regulatory authority before delivery.

Service technicians are not permitted to undertake any installation, replacement, maintenance and repair functions that are restricted to licensed trades or occupations.

# Pre-requisite Unit

None.

# Unit Sector

Swimming pool and spa service

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Assess job requirements. | 1.1 | Identify relevant Australian standards and regulatory, manufacturer and enterprise requirements related to cleaning and vacuuming systems. |
|  |  | 1.2 | Review work instructions and confirm installation or repair activities required. |
|  |  | 1.3 | Identify hazards and assess and control risks in the work area in line with WHS and enterprise requirements. |
| 2 | Install and test swimming pool or spa cleaning and vacuuming system and components. | 2.1 | Apply relevant regulations, Australian standards and manufacturer, client and enterprise requirements throughout swimming pool or spa cleaning and vacuuming system or component installation. |
|  |  | 2.2 | Coordinate installation work with relevant licensed personnel. |
|  |  | 2.3 | Fit cleaning and vacuuming system or component to swimming pool or spa. |
|  |  | 2.4 | Test and commission swimming pool or spa cleaning and vacuuming system or component. |
| 3 | Resolve faults in swimming pool or spa cleaning and vacuuming systems. | 3.1 | Apply system knowledge and technical resources to analyse faults and defects efficiently and accurately. |
|  |  | 3.2 | Diagnose faults that are not covered fully by maintenance manual fault diagnosis guides. |
|  |  | 3.3 | Seek advice and repair work assistance from relevant personnel for activities outside scope of own expertise or licensing. |
|  |  | 3.4 | Apply WHS and sustainability practices related to materials, equipment, and the surrounding environment during fault finding and repair or replacement activities. |
|  |  | 3.5 | Repair or replace components in line with manufacturer instructions, and regulatory, client and enterprise requirements. |
|  |  | 3.6 | Test and commission swimming pool or spa cleaning and vacuuming system in line with manufacturer instructions. |
| 4 | Complete installation and repair. | 4.1 | Reinstate work area and swimming pool or spa cleaning and vacuuming system to operational condition. |
|  |  | 4.2 | Document and report procedures undertaken, and system and/or component malfunctions, faults, wear or damage. |
|  |  | 4.3 | Advise client of operational and maintenance requirements of the cleaning and vacuuming system in line with enterprise requirements. |
|  |  | 4.4 | Advise appropriate persons of non-compliance of swimming pool or spa and environs with safety and regulations. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to source and interpret technical information, regulations, standards and codes of practice

oral communication skills to interact with clients from diverse social, economic and cultural backgrounds

numeracy skills to perform calculations related to troubleshooting faults.

# Unit Mapping Information

Supersedes and equivalent to CPPSPS4004A Install, service and repair swimming pool and spa cleaning and vacuuming systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPSPS4004 Install and repair swimming pool and spa cleaning and vacuuming systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4004A Install, service and repair swimming pool and spa cleaning and vacuuming systems. Minor title change. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing. Element 3 changed from Service to Maintain. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

installing and testing different types cleaning and vacuuming systems or components in two swimming pools and one spa

applying technical knowledge and advanced diagnostic skills to identify and repair two faults in different swimming pool cleaning and vacuuming systems in line with regulatory requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

key requirements of relevant Commonwealth, state or territory, and local government regulations and Australian standards related to swimming pool and spa servicing:

work health and safety

public health

dangerous goods

environment and waste disposal

Australian Competition and Consumer Commission product safety guidelines

electrical and plumbing regulations related to own work

enterprise policies and procedures related to:

compliance with regulations

maintenance of knowledge of regulations

roles, responsibilities and limitations of own role

work instructions:

site requirements, including access

personal protective clothing and equipment requirements

equipment and systems location information

system information

warranties and guarantees

hazards and risks associated with installation and repair of cleaning and vacuuming systems

types of swimming pool and spa cleaning and vacuuming systems:

built-in floor systems

pressure cleaners

suction cleaners

manual vacuum systems

sweepers

Venturi vacuum type cleaners

robotic pool cleaners

deck suction vacuum systems in commercial swimming pools

purpose and operating principles of cleaning and vacuum systems

components of cleaning and vacuum systems

common faults of cleaning and vacuum systems

maintenance procedures:

cleaning

inspection

bleeding air from hose line.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be undertaken in the workplace or in a simulated workplace environment.

Candidates must be provided with:

relevant manufacturer instructions, regulations, codes, standards and enterprise policies and procedures

relevant tools and equipment, personal protection equipment (PPE)

technical references with current information on swimming pool and spa cleaning and vacuuming systems:

operating principles

components

faults and troubleshooting.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b