# CPPSPS4004 Install and repair swimming pool and spa cleaning and vacuuming systems

Release: 1

CPPSPS4004 Install and repair swimming pool and spa cleaning and vacuuming systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4004A Install, service and repair swimming pool and spa cleaning and vacuuming systems. Minor title change. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing. Element 3 changed from Service to Maintain. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to install, test and repair swimming pool and spa cleaning and vacuuming systems.

This unit is suitable for swimming pool and spa technicians who work independently using specialised knowledge and skills to solve predictable and unpredictable problems in swimming pool and spa cleaning and vacuuming systems in accordance with regulatory requirements in:

private swimming pools and spas

public swimming pools and spas, including:

hydrotherapy and therapeutic exercise pools

wading and receiving pools associated with water slides

wave pools.

All work must be carried out to comply with workplace procedures, in accordance with state/territory work health and safety (WHS), regulations and legislation that applies to the workplace. Legislative and regulatory requirements apply to swimming pool and spa technicians but vary according to state/territory jurisdictions. Users must check with the relevant regulatory authority before delivery.

Service technicians are not permitted to undertake any installation, replacement, maintenance and repair functions that are restricted to licensed trades or occupations.

# Pre-requisite Unit

None.

# Unit Sector

Swimming pool and spa service

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Assess job requirements. | 1.1 | Identify relevant Australian standards and regulatory, manufacturer and enterprise requirements related to cleaning and vacuuming systems. |
|  |  | 1.2 | Review work instructions and confirm installation or repair activities required. |
|  |  | 1.3 | Identify hazards and assess and control risks in the work area in line with WHS and enterprise requirements. |
| 2 | Install and test swimming pool or spa cleaning and vacuuming system and components. | 2.1 | Apply relevant regulations, Australian standards and manufacturer, client and enterprise requirements throughout swimming pool or spa cleaning and vacuuming system or component installation. |
|  |  | 2.2 | Coordinate installation work with relevant licensed personnel. |
|  |  | 2.3 | Fit cleaning and vacuuming system or component to swimming pool or spa. |
|  |  | 2.4 | Test and commission swimming pool or spa cleaning and vacuuming system or component. |
| 3 | Resolve faults in swimming pool or spa cleaning and vacuuming systems. | 3.1 | Apply system knowledge and technical resources to analyse faults and defects efficiently and accurately. |
|  |  | 3.2 | Diagnose faults that are not covered fully by maintenance manual fault diagnosis guides. |
|  |  | 3.3 | Seek advice and repair work assistance from relevant personnel for activities outside scope of own expertise or licensing. |
|  |  | 3.4 | Apply WHS and sustainability practices related to materials, equipment, and the surrounding environment during fault finding and repair or replacement activities. |
|  |  | 3.5 | Repair or replace components in line with manufacturer instructions, and regulatory, client and enterprise requirements. |
|  |  | 3.6 | Test and commission swimming pool or spa cleaning and vacuuming system in line with manufacturer instructions. |
| 4 | Complete installation and repair. | 4.1 | Reinstate work area and swimming pool or spa cleaning and vacuuming system to operational condition. |
|  |  | 4.2 | Document and report procedures undertaken, and system and/or component malfunctions, faults, wear or damage. |
|  |  | 4.3 | Advise client of operational and maintenance requirements of the cleaning and vacuuming system in line with enterprise requirements. |
|  |  | 4.4 | Advise appropriate persons of non-compliance of swimming pool or spa and environs with safety and regulations. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to source and interpret technical information, regulations, standards and codes of practice

oral communication skills to interact with clients from diverse social, economic and cultural backgrounds

numeracy skills to perform calculations related to troubleshooting faults.

# Unit Mapping Information

Supersedes and equivalent to CPPSPS4004A Install, service and repair swimming pool and spa cleaning and vacuuming systems.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b