# Assessment Requirements for CPPSPS4005 Install, service and repair swimming pool and spa heating systems

Release: 1

Assessment Requirements for CPPSPS4005 Install, service and repair swimming pool and spa heating systems

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4005A Install, service and repair swimming pool and spa heating systems. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing. Element 3 changed from Service to Maintain. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by safely:

installing and testing a swimming pool or spa water heating system and a component in a minimum of two swimming pools and one spa in line with regulatory requirements

applying technical knowledge and advanced diagnostic skills to identify and repair one heating fault in a swimming pool and one fault in a spa in line with regulatory requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

key requirements of relevant commonwealth, state or territory, and local government regulations and Australian standards related to swimming pool and spa servicing:

work health and safety

public health

dangerous goods

environment and waste disposal

Australian Competition and Consumer Commission product safety guidelines

electrical and plumbing regulations related to own work

enterprise policies and procedures:

compliance with regulations

maintenance of knowledge of regulations

roles, responsibilities and limitations of own role

work instructions:

site requirements, including access

personal protective clothing and equipment requirements

equipment and systems location information

system information

warranties and guarantees

hazards associated with heated water in swimming pools and spas

energy efficiency:

energy consumption of different heating systems

ways of maximising energy efficiency of swimming pool and spa heating systems

swimming pool and spa heating system:

purpose and operating principles

types and components:

heat pump or exchanger

gas (fossil fuel)

solar

electric

determining heating requirements:

sizing

temperature needed

time of year pool or spa used

pool or spa measurements

solar roof space availability and access

gas fitting regulations

heat pump electrical needs

impact of heat blanket

purchase, installation and running costs

Coefficient of Performance (COP)

installation requirements:

venting and air circulation

installation before chemical or salt chlorination equipment

correct pipework and flow rates

bypass valves for servicing and water flow adjustments

available support staff to safely install heater

operation, maintenance and servicing of heating systems:

common faults

inspection and cleaning

manufacturer requirements.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be undertaken in the workplace or in a simulated workplace environment.

Candidates must be provided with:

relevant manufacturer instructions, regulations, codes, standards and enterprise policies and procedures

relevant tools and equipment, personal protection equipment (PPE)

technical references with current information on swimming pool and spa heating systems:

operating principles

components

faults and troubleshooting.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b