# Assessment Requirements for CPPSPS4008 Install, service and repair spas

Release: 1

Assessment Requirements for CPPSPS4008 Install, service and repair spas

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4008A Install, service and repair spas. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing. Element 3 changed from Service to Maintain. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

installing one spa and a component in a minimum of two spas

servicing a spa or component in a minimum of two spas

applying technical knowledge and advanced diagnostic skills to identify and repair two faults in line with regulatory requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

key requirements of relevant commonwealth, state or territory, and local government regulations and Australian standards related to swimming pool and spa servicing:

work health and safety

public health

dangerous goods

environment and waste disposal

Australian Competition and Consumer Commission product safety guidelines

electrical and plumbing regulations related to own work

enterprise policies and procedures related to:

compliance with regulations

maintenance of knowledge of regulations

roles, responsibilities and limitations of own role

work instructions:

site requirements, including access

personal protective clothing and equipment requirements

equipment and systems location information

system information

warranties and guarantees

hazards and risks associated with spas

operating principles

types, operation, installation, commissioning and servicing of spas

maintenance of spas

repair of small cracks and scratches, including use of acrylic repair kit or car scratch repair kit

common faults, including foaming

spa components

construction material:

concrete

fibreglass

thermoplastic

stainless steel

design features:

steps, seating areas, hand/support rails

dehumidification

bathing loads

water replacement

hot water circulation

plant space and location

disinfection:

hazards

purpose

procedures

chemistry testing and parameters

water testing:

equipment

parameters

techniques

test results.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be undertaken in the workplace or in a simulated workplace environment.

Candidates must be provided with:

relevant manufacturer instructions, regulations, codes, standards and enterprise policies and procedures

relevant tools and equipment, personal protection equipment (PPE)

technical references with current information on spas:

operating principles

components

faults and troubleshooting.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b