# CPPSPS4008 Install, service and repair spas

Release: 1

CPPSPS4008 Install, service and repair spas

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4008A Install, service and repair spas. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing. Element 3 changed from Service to Maintain. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Application

This unit specifies the skills and knowledge required to install, service and repair spas.

This unit is suitable for swimming pool and spa technicians who work independently using specialised knowledge and skills to solve predictable and unpredictable problems in spas in accordance with regulatory requirements in indoor and outdoor, private and public spas including:

hydrotherapy pools

hot tubs

swim spas

spa baths and pools.

All work must be carried out to comply with workplace procedures, in accordance with state/territory work health and safety (WHS), regulations and legislation that applies to the workplace. Legislative and regulatory requirements apply to swimming pool and spa technicians but vary according to state/territory jurisdictions. Users must check with the relevant regulatory authority before delivery.

Service technicians are not permitted to undertake any installation, replacement, maintenance and repair functions that are restricted to licensed trades or occupations.

# Pre-requisite Unit

None.

# Unit Sector

Swimming pool and spa service

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Assess job requirements. | 1.1 | Identify relevant Australian standards and regulatory, manufacturer and enterprise requirements related to spas. |
|  |  | 1.2 | Review work instructions and confirm system, installation, service or repair activities required for spa bath or pool. |
|  |  | 1.3 | Identify hazards and assess and control risks in the work area in line with WHS and enterprise requirements. |
| 2 | Install and test spa and components. | 2.1 | Apply relevant regulations, Australian standards and manufacturer, client and enterprise requirements throughout installation of lighting system or component. |
|  |  | 2.2 | Coordinate installation work with relevant licensed personnel. |
|  |  | 2.3 | Install spa system or component. |
|  |  | 2.4 | Test and commission spa or component. |
| 3 | Maintain spas. | 3.1 | Identify service and maintenance requirements from manufacturer instructions in line with enterprise requirements. |
|  |  | 3.2 | Check and fit replacement components in line with manufacturer instructions. |
|  |  | 3.3 | Service spa in line with WHS, manufacturer instructions and enterprise procedures. |
| 4 | Resolve faults in spas. | 4.1 | Apply system knowledge and technical resources to analyse faults and defects. |
|  |  | 4.2 | Diagnose faults that are not covered fully by maintenance manual fault diagnosis guides. |
|  |  | 4.3 | Seek advice and repair work assistance from relevant personnel for activities outside scope of own expertise or licensing. |
|  |  | 4.4 | Apply WHS and sustainability practices related to materials, equipment, and the surrounding environment during fault finding and repair or replacement activities. |
|  |  | 4.5 | Repair or replace components in line with manufacturer instructions, and regulatory, client and enterprise requirements. |
|  |  | 4.6 | Test and commission spa in line with manufacturer instructions. |
| 5 | Complete installation, repair and service. | 5.1 | Reinstate work area and spa to operational condition. |
|  |  | 5.2 | Document and report procedures undertaken, and system and/or component malfunctions, faults, wear or damage. |
|  |  | 5.3 | Advise client of operational and maintenance requirements of the spa in line with enterprise requirements. |
|  |  | 5.4 | Advise appropriate persons of non-compliance of spa and environs with safety and regulations. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to source and interpret technical information, regulations, standards and codes of practice

oral communication skills to interact with clients from diverse social, economic and cultural backgrounds

numeracy skills to perform calculations related to troubleshooting faults.

# Unit Mapping Information

Supersedes and equivalent to CPPSPS4008A Install, service and repair spas.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPSPS4008 Install, service and repair spas

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4008A Install, service and repair spas. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing. Element 3 changed from Service to Maintain. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

installing one spa and a component in a minimum of two spas

servicing a spa or component in a minimum of two spas

applying technical knowledge and advanced diagnostic skills to identify and repair two faults in line with regulatory requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

key requirements of relevant commonwealth, state or territory, and local government regulations and Australian standards related to swimming pool and spa servicing:

work health and safety

public health

dangerous goods

environment and waste disposal

Australian Competition and Consumer Commission product safety guidelines

electrical and plumbing regulations related to own work

enterprise policies and procedures related to:

compliance with regulations

maintenance of knowledge of regulations

roles, responsibilities and limitations of own role

work instructions:

site requirements, including access

personal protective clothing and equipment requirements

equipment and systems location information

system information

warranties and guarantees

hazards and risks associated with spas

operating principles

types, operation, installation, commissioning and servicing of spas

maintenance of spas

repair of small cracks and scratches, including use of acrylic repair kit or car scratch repair kit

common faults, including foaming

spa components

construction material:

concrete

fibreglass

thermoplastic

stainless steel

design features:

steps, seating areas, hand/support rails

dehumidification

bathing loads

water replacement

hot water circulation

plant space and location

disinfection:

hazards

purpose

procedures

chemistry testing and parameters

water testing:

equipment

parameters

techniques

test results.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be undertaken in the workplace or in a simulated workplace environment.

Candidates must be provided with:

relevant manufacturer instructions, regulations, codes, standards and enterprise policies and procedures

relevant tools and equipment, personal protection equipment (PPE)

technical references with current information on spas:

operating principles

components

faults and troubleshooting.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b