# Assessment Requirements for CPPSPS4012 Design, install and service automated systems for swimming pools and spas

Release: 1

Assessment Requirements for CPPSPS4012 Design, install and service automated systems for swimming pools and spas

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4012A Design, install and service automated systems for swimming pools and spas. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing. Element 3 changed from Service to Maintain. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

designing, installing and testing a swimming pool and spa automated system and components in a minimum of two swimming pools and one spa

Applying technical knowledge and advanced diagnostic skills to identify and repair two faults with automated systems, in line with regulatory requirements.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

key requirements of relevant commonwealth, state or territory, and local government regulations and Australian standards related to swimming pool and spa servicing:

work health and safety

public health

dangerous goods

environment and waste disposal

Australian Competition and Consumer Commission product safety guidelines

electrical and plumbing regulations related to own work

enterprise policies and procedures related to:

compliance with regulations

maintenance of knowledge of regulations

roles, responsibilities and limitations of own role

work instructions:

site requirements, including access

personal protective clothing and equipment requirements

equipment and systems location information

system information

warranties and guarantees

hazards and risks associated with automated systems for swimming pools and spas:

explosions and implosions

skimmer and suction entrapment

electrocution, fire, poisoning

automated systems:

purpose and operating principles

maintenance procedures, scheduling and run times

types:

dosing

heating

lighting

pool and spa controllers

pool cleaning

valving

water treatment

common faults

components:

electronics:

circuits

diagrams

safety

testing and test equipment

peristaltic pumps

programmable controllers

sensors

connectivity

functions of actuator valves.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be undertaken in the workplace or in a simulated workplace environment.

Candidates must be provided with:

relevant manufacturer instructions, regulations, codes, standards and enterprise policies and procedures

relevant tools and equipment, personal protection equipment (PPE)

technical references with current information on automated swimming pool and spa systems:

operating principles

components

faults and troubleshooting.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b