# CPPSPS4013 Establish maintenance plans for swimming pools and spas

Release: 1

CPPSPS4013 Establish maintenance plans for swimming pools and spas

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4013A Establish maintenance plans for swimming pools and spas. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Application

This unit of competency specifies the skills and knowledge required to establish maintenance plans for swimming pools and spas.

This unit is suitable for swimming pool and spa technicians who work independently using specialised knowledge and skills to develop, implement and review maintenance plans in:

private swimming pools and spas

public swimming pools and spas, including:

hydrotherapy and therapeutic exercise pools

wading and receiving pools associated with water slides

wave pools.

All work must be carried out to comply with workplace procedures, in accordance with state/territory work health and safety (WHS), regulations and legislation that applies to the workplace. Legislative and regulatory requirements apply to swimming pool and spa technicians but vary according to state/territory jurisdictions. Users must check with the relevant regulatory authority before delivery.

Service technicians are not permitted to undertake any installation, replacement, maintenance and repair functions that are restricted to licensed trades or occupations.

# Pre-requisite Unit

None.

# Unit Sector

Swimming pool and spa service

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Assess maintenance requirements. | 1.1 | Identify relevant Australian standards and regulatory, manufacturer and enterprise requirements related to swimming pool and spa maintenance. |
|  |  | 1.2 | Identify requirements for routine, seasonal and preventative maintenance |
|  |  | 1.3 | Review work instructions and factors impacting on required maintenance activities and schedules. |
|  |  | 1.4 | Identify hazards and assess risks to be addressed in the maintenance plan in line with WHS and enterprise requirements. |
| 2 | Develop swimming pool or spa maintenance plan. | 2.1 | Establish maintenance plan in line with owner instructions, regulatory, manufacturer and enterprise requirements and procedures. |
|  |  | 2.2 | Determine maintenance costs and recommended schedule. |
|  |  | 2.3 | Develop contract specifications for maintenance services where appropriate. |
|  |  | 2.4 | Identify aspects of maintenance plan requiring specialist services and seek assistance as required. |
|  |  | 2.5 | Establish criteria and develop register of specialist service providers to support maintenance activities. |
|  |  | 2.6 | Establish systems for implementing and reporting maintenance requirements. |
| 3 | Implement maintenance plan. | 3.1 | Seek approval of maintenance plan in line with enterprise procedures. |
|  |  | 3.2 | Carry out maintenance in line with agreed plan, owner or operator instructions, legislative requirements and enterprise procedures. |
|  |  | 3.3 | Document and report procedures undertaken, and system and/or component malfunctions, faults, wear or damage identified. |
|  |  | 3.4 | Advise appropriate persons of non-compliance of swimming pool or spa and environs with safety and regulations. |
| 4 | Evaluate maintenance plan. | 4.1 | Assess maintenance plan using relevant resources and consultation with relevant persons. |
|  |  | 4.2 | Present assessment of maintenance plan to relevant people in required format and timeframes. |
|  |  | 4.3 | Recommend improvements to maintenance plan to relevant people in line with enterprise procedures. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to source and interpret technical information, regulations, standards and codes of practice

oral communication skills to:

interact with clients from diverse social, economic and cultural backgrounds

negotiate contracts with tradespeople and service providers

numeracy skills to calculate and interpret data and maintenance costs.

# Unit Mapping Information

Supersedes and equivalent to CPPSPS4013A Establish maintenance plans for swimming pools and spas.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b

Assessment Requirements for CPPSPS4013 Establish maintenance plans for swimming pools and spas

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4013A Establish maintenance plans for swimming pools and spas. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

developing a maintenance plan for one private swimming pool and one private spa

developing a maintenance plan for one swimming pool and one spa both of which are used by the public.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

key requirements of relevant commonwealth, state or territory, and local government regulations and Australian standards related to swimming pool and spa servicing:

work health and safety

public health

dangerous goods

environment and waste disposal

Australian Competition and Consumer Commission product safety guidelines

electrical and plumbing regulations related to own work

enterprise policies and procedures related to:

compliance with regulations

maintenance of knowledge of regulations

roles, responsibilities and limitations of own role

work instructions:

site requirements, including access

personal protective clothing and equipment requirements

equipment and systems location information

maintenance information

warranties and guarantees

hazards and risks associated with swimming pool and spa maintenance, including chemical safety

features of business equipment, resources and procedures

maintenance plan design factors:

design and type of facility

length of the operating season

need to generate revenue

number and age of the pools and spas

size and capabilities of the staff

contents of maintenance plans for swimming pools and spas:

advantages

costs

procedures

maintenance intervals

preventative maintenance

routine maintenance

seasonal maintenance

procedures for selecting specialist service providers including tradespeople

specialist services.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be undertaken in the workplace or in a simulated workplace environment.

Candidates must be provided with:

relevant manufacturer instructions, regulations, codes, standards and enterprise policies and procedures

relevant tools and equipment, personal protection equipment (PPE)

technical references with current information on swimming pool and spa maintenance including:

requirements

procedures

preventative, seasonal and routine maintenance.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b