# Assessment Requirements for CPPSPS4014 Drain and acid wash swimming pools and spas

Release: 1

Assessment Requirements for CPPSPS4014 Drain and acid wash swimming pools and spas

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4014A Drain and acid wash swimming pools and spas. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

draining and acid washing one concrete swimming pool

draining and acid washing one concrete spa.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

key requirements of relevant commonwealth, state or territory, and local government regulations and Australian standards related to swimming pool and spa servicing:

work health and safety

public health

dangerous goods, including chemicals

environment and waste disposal

Australian Competition and Consumer Commission product safety guidelines

electrical and plumbing regulations related to own work

enterprise policies and procedures related to:

compliance with regulations (including building and chemical safety)

maintenance of knowledge of regulations

roles, responsibilities and limitations of own role

purpose and content of client disclosure and acknowledgement documentation

work instructions:

site requirements, including access

personal protective clothing and equipment requirements

equipment and systems location information

warranties and guarantees

purpose of acid washing:

suitability of swimming pools and spas

frequency

causes of stain and mineral build-up on pool and spa surfaces

impact and risks of draining and acid washing on swimming pool or spa surface and structure

acid washing procedures including waste disposal

acids:

types and properties

safety including handling, transportation and storage

tools, materials and equipment

hazards and risks associated with draining and acid washing swimming pools and spas:

inadequate ventilation

natural and other gas build-up

atmospheric hazards when incompatible chemicals are stored or mixed together

chemical hazards

confined spaces and entrapment

working at heights

exposure to:

asbestos

contaminated surfaces

debris

dust and fibres

glass

live power

water testing techniques and results.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be undertaken in the workplace or in a simulated workplace environment.

Candidates must be provided with:

relevant manufacturer instructions, regulations, codes, standards and enterprise policies and procedures

relevant tools and equipment, personal protection equipment (PPE)

technical references with current information on draining and acid washing swimming pool and spas:

chemical safety

acids

problems associated with acid washing swimming pools and spas.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b