# CPPSPS4017 Detect leaks in swimming pools and spas

Release: 1

CPPSPS4017 Detect leaks in swimming pools and spas

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4017A Detect leaks in swimming pools and spas. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing and WHS. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Application

This unit specifies the outcomes required to detect leaks in swimming pools and spas. It includes operating leak-detection equipment and reporting on leak-detection activities.

This unit is suitable for swimming pool and spa technicians who work independently using specialised knowledge and skills to solve predictable and unpredictable problems in:

private swimming pools and spas

public swimming pools and spas, including:

hydrotherapy and therapeutic exercise pools

wading and receiving pools associated with water slides

wave pools.

All work must be carried out to comply with workplace procedures, in accordance with state/territory work health and safety (WHS), regulations and legislation that applies to the workplace. Legislative and regulatory requirements apply to swimming pool and spa technicians but vary according to state/territory jurisdictions. Users must check with the relevant regulatory authority before delivery.

Service technicians are not permitted to undertake any installation, replacement, maintenance and repair functions that are restricted to licensed trades or occupations.

# Pre-requisite Unit

Nil.

# Unit Sector

Swimming pool and spa service

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe what needs to be done to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Assess job requirements. | 1.1 | Identify relevant Australian standards and regulatory, manufacturer and enterprise requirements related to leak detection. |
|  |  | 1.2 | Review work instructions and test to confirm that swimming pool and/or spa is leaking in line with enterprise procedures. |
|  |  | 1.3 | Confirm location of related services in line with enterprise procedures. |
|  |  | 1.4 | Identify hazards and assess and control risks in the work area in line with WHS and enterprise requirements. |
| 2 | Detect leaks. | 2.1 | Apply relevant regulations, Australian standards and manufacturer, client and enterprise requirements throughout leak detection. |
|  |  | 2.2 | Implement leak detection process using appropriate leak-detection equipment. |
|  |  | 2.3 | Seek advice from relevant personnel for activities outside scope of own expertise or licensing. |
|  |  | 2.4 | Arrange leak repair in line with testing outcomes and enterprise and statutory requirements. |
| 3 | Complete leak detection activities. | 3.1 | Clean and store leak-detection equipment in line with enterprise and manufacturer requirements |
|  |  | 3.2 | Review and report on work in line with enterprise procedures. |

# Foundation Skills

As well as the foundation skills explicit in the performance criteria of this unit, candidates require:

reading skills to source and interpret technical information, regulations, standards and codes of practice

oral communication skills to interact with clients from diverse social, economic and cultural backgrounds

numeracy skills to:

perform calculations related to water loss in swimming pools and spas

interpret data output from electronic leak-detection equipment.

# Unit Mapping Information

Supersedes and equivalent to CPPSPS4017A Detect leaks in swimming pools and spas.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad

Assessment Requirements for CPPSPS4017 Detect leaks in swimming pools and spas

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 9.0. Supersedes and is equivalent to CPPSPS4017A Detect leaks in swimming pools and spas. Added in content from CPPSPS4011A Comply with regulatory requirements for swimming pool and spa servicing and WHS. Updated to meet the Standards for Training Packages. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the performance criteria of this unit by:

Determine job requirements, detect leak and organise repair of leaks in:

one swimming pool and one spa made from fibreglass

one swimming pool and one spa made from concrete.

# Knowledge Evidence

To be competent in this unit, a candidate must demonstrate knowledge of:

key requirements of relevant commonwealth, state or territory, and local government regulations and Australian standards related to swimming pool and spa servicing:

work health and safety

public health

dangerous goods

environment and waste disposal

Australian Competition and Consumer Commission product safety guidelines

electrical and plumbing regulations related to own work

enterprise policies and procedures related to:

compliance with regulations

maintenance of knowledge of regulations

roles, responsibilities and limitations of own role

work instructions:

site requirements, including access

personal protective clothing and equipment requirements

equipment and systems location information

warranties and guarantees

hazards and risks associated with swimming pool and spa leak detection

common structural leak areas:

cracks

lights

main drain and hydrostatic valve

pipe openings into pool

skimmer bond to pool

skimmer throat

tile line

vinyl liners

leak-detection equipment:

types

operating principles

safety

maintenance procedures

leak-detection procedures

signs of potential pool and spa leaks:

algae growth or discoloration of water

cracks

equipment loses prime

excess chemical usage

excessive water loss

pool deck is sinking or lifting

pool has air in the system

soggy spots around the pool

visible equipment leaks

types of leaks in swimming pools and spas:

plumbing leaks

pressure leaks

static leaks.

# Assessment Conditions

Assessors must meet the requirements for assessors contained in the Standards for Registered Training Organisations.

Assessment must be undertaken in the workplace or in a simulated workplace environment.

Candidates must be provided with:

relevant manufacturer instructions, regulations, codes, standards and enterprise policies and procedures

relevant tools and equipment, personal protection equipment (PPE)

technical references with current information on leak detection techniques for swimming pools and spas.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=7e15fa6a-68b8-4097-b099-030a5569b1ad