# Assessment Requirements for CPPSSI5057 Conduct precision surveys

Release: 1

Assessment Requirements for CPPSSI5057 Conduct precision surveys

# Modification History

| Release 1 | This version first released with CPP Property Services Training Package Release 12.0. This unit supersedes and is equivalent to CPPSIS5057 Conduct precision surveys. |
| --- | --- |

# Performance Evidence

To demonstrate competency, a candidate must meet the elements and performance criteria of this unit by conducting two different precision surveys selected from the list below:

precise levelling run, using one of the following pieces of specialised equipment and relevant attachments:

digital level

total station.

precise setting out using one of the following pieces of equipment and relevant attachments:

total station

zenith and nadir auto plumb instruments

auto collimation and laser eyepieces.

precise setting out using one of the following remote measuring systems:

precise intersection techniques

robotic instruments.

precise monitoring survey using one of the following pieces of equipment and relevant attachments:

digital level

total station

robotic instruments.

# Knowledge Evidence

To be competent in this unit a candidate must demonstrate knowledge of:

graphical and technical information in construction and engineering plans

common terms used in precision surveying calculations

standard survey plan design and presentation conventions

types of surveying equipment used in precision surveys

types of surveying equipment attachments and their uses

methods for checking calibration of specialist instruments and attachments

application of electromagnetic measuring principles and techniques

data reduction techniques

concepts of algebra, geometry and trigonometry

industry-accepted methods for error analysis and standards for accuracy.

# Assessment Conditions

Assessors must satisfy the requirements for assessors contained in the Standards for Registered Training Organisations.

Competency is to be assessed in the workplace or a simulated environment that accurately reflects performance in a real workplace setting where these skills and knowledge would be performed.

Candidates must have access to:

surveying equipment

personal protective equipment (PPE)

survey specifications, including relevant plans and drawings.

# Links

Companion volumes to this training package are available at the VETNet website - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6f3f9672-30e8-4835-b348-205dfcf13d9b