# CPPFES2011A Install portable fire extinguishers and fire blankets

Release: 1

CPPFES2011A Install portable fire extinguishers and fire blankets

# Modification History

Revised unit

Element structure and performance criteria changed to reflect workplace requirements

All references to smoke alarms removed

Skills and knowledge requirements and the range statement updated

Unit based on PRMPFES11B Install portable fire extinguishers, fire blankets and smoke alarms

# Unit Descriptor

This unit of competency specifies the outcomes required to install portable fire extinguishers and fire blankets at a customer’s premises.

# Application of the Unit

This unit of competency supports fire service technicians responsible for installing portable fire extinguishers and fire blankets.

# Licensing/Regulatory Information

Work in this area must be completed according to relevant legislative, industry, customer and organisational requirements, including occupational health and safety (OHS) policies and procedures.

Different states and territories may have regulatory mechanisms that apply to this unit. Candidates are advised to check for regulatory limitations.

# Pre-Requisites

Not applicable.

# Employability Skills Information

This unit contains employability skills.

# Elements and Performance Criteria Pre-Content

| Elements describe the essential outcomes of a unit of competency. | Performance criteria describe the performance needed to demonstrate achievement of the element. Where bold italicised text is used, further information is detailed in the required skills and knowledge section and the range statement. Assessment of performance is to be consistent with the evidence guide. |
| --- | --- |

# Elements and Performance Criteria

| 1 | Apply rules and regulations to installation operations. | 1.1 | Requirements of relevant rules and regulations are confirmed and applied to work procedures. |
| --- | --- | --- | --- |
|  |  | 1.2 | Compliance requirements are checked and action is taken according to organisational policies and procedures. |

| 2 | Install portable fire extinguishers. | 2.1 | Work permits are obtained prior to entering customer premises. |
| --- | --- | --- | --- |
|  |  | 2.2 | Extinguisher is selected according to hazard present in the area to be protected, and installation site compliance with requirements of relevant Australian standards is confirmed. |
|  |  | 2.3 | Fire extinguisher mounting brackets and fire extinguisher are fixed securely to location surface according to work procedures, customer requirements and manufacturers’ specifications. |
|  |  | 2.4 | Approved extinguisher location signs are positioned levelly and according to requirements of relevant Australian standards. |
|  |  | 2.5 | Extinguisher is commissioned, including initial inspection, testing and tagging routine, according to relevant Australian standards. |

| 3 | Install portable fire extinguisher and fire cabinet combinations. | 3.1 | Installation site is confirmed as conforming to requirements of relevant Australian standards. |
| --- | --- | --- | --- |
|  |  | 3.2 | Fire cabinet is installed levelly using fasteners appropriate to location surface. |
|  |  | 3.3 | Approved fire extinguisher location and identification signage and labelling are provided and positioned level, according to requirements of relevant Australian standards. |

| 4 | Install fire blankets. | 4.1 | Installation site is confirmed as appropriate according to relevant Australian standards and manufacturers’ specifications. |
| --- | --- | --- | --- |
|  |  | 4.2 | Fire blankets are installed using fasteners appropriate to location surface. |
|  |  | 4.3 | Fire blanket location signs are installed using appropriate fasteners or adhesives, and situated according to requirements of relevant Australian standards. |

| 5 | Finalise work. | 5.1 | Customer premises are left in a clean and tidy condition on completion of installation functions. |
| --- | --- | --- | --- |
|  |  | 5.2 | Documentation is completed and distributed according to organisational requirements. |

# Required Skills and Knowledge

This section describes the skills and knowledge required for this unit.

Required skills

customer service skills language, literacy and numeracy skills to: communicate with others in a clear and concise manner, verbally and in writing record and report information neatly and legibly read and comply with work instructions and specifications read and record measurements planning and organising skills to: estimate time to complete activities prioritise tasks interpersonal skills to relate to people from a range of social and cultural backgrounds skills to work safely when: applying workplace housekeeping procedures applying safe work methods using hand and power tools

Required knowledge

action to take when a breach of health, safety or other policy occurs key features of legislation, regulations and codes applicable to selection, positioning and installation of portable fire extinguishers and fire blankets to meet hazard present in the area to be protected importance of compliance with legislation and standards, and implications of: not applying legislative requirements to job functions incorrectly determining the installation site for a fire blanket incorrectly locating fire extinguishers and fire blankets methods for determining the correct installation site for fire blankets methods for locating hidden 240-volt power cables, gas pipes, water pipes and other relevant utilities purpose of the Building Code of Australia (BCA) and ‘deemed to comply’ requirements relevant to installation of extinguishers and fire blankets reasons for installing portable fire extinguishers in fire cabinets special requirements of aggressive environments, such as those with high moisture, dust levels or acidity

# Evidence Guide

| The evidence guide provides advice on assessment and must be read in conjunction with the performance criteria, required skills and knowledge, range statement and the Assessment Guidelines for the Training Package. |  |
| --- | --- |
| Overview of assessment | This unit of competency could be assessed by practical demonstration of the installation of a number of portable fire extinguishers and fire blankets within customers’ premises to meet: customer requirements hazard present in the area to be protected BCA and relevant Australian standards. |
| Critical aspects for assessment and evidence required to demonstrate competency in this unit | A person who demonstrates competency in this unit must be able to provide evidence of the required skills and knowledge specified in this unit. In particular the person should demonstrate the ability to: select, position and install portable fire extinguishers and fire blankets to meet hazard present in the area to be protected and according to BCA and relevant Australian standards. |
| Context of and specific resources for assessment | Assessment of essential underpinning knowledge may be conducted in an off-site context. It is to comply with relevant regulatory or Australian standards’ requirements. Resource implications for assessment include: access to a customer’s premises or a simulated workplace environment necessary tools, specialist equipment, manuals, spare parts and relevant documentation. |
| Method of assessment | Assessment methods must: satisfy the endorsed Assessment Guidelines of the Property Services Training Package include direct observation of tasks in real or simulated work conditions, with questioning to confirm the ability to consistently identify and correctly interpret the essential underpinning knowledge required for practical application reinforce the integration of employability skills with workplace tasks and job roles confirm that competency is verified and able to be transferred to other circumstances and environments. |
| Guidance information for assessment | Reasonable adjustments for people with disabilities must be made to assessment processes where required. This could include access to modified equipment and other physical resources, and the provision of appropriate assessment support. Assessment processes and techniques should as far as is practical take into account the language, literacy and numeracy capacity of the candidate in relation to the competency being assessed. This unit could be assessed on its own or in combination with other units relevant to the job function, for example: CPPFES2004A Identify types of installed fire safety equipment and systems CPPFES2006A Prepare for installation and servicing operations. |

# Range Statement

| The range statement relates to the unit of competency as a whole. It allows for different work environments and situations that may affect performance. Bold italicised wording, if used in the performance criteria, is detailed below. Essential operating conditions that may be present with training and assessment (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) may also be included. |  |
| --- | --- |
| Rules and regulations may include: | dangerous goods regulations environmental regulations licensing arrangements OHS legislation, regulations and codes relevant commonwealth and state or territory building Acts, regulations and codes, such as the BCA relevant Australian standards, such as: AS 2444 Portable fire extinguishers and fire blankets – Selection and location note: Australian standards are frequently revised and users must always check for currency and amendments other relevant legislation relating to fire protection equipment, including: international shipping codes marine codes for different Australian States requirements of Australian petroleum industry. |
| Requirements may be confirmed with: | colleagues managers supervisors team leaders. |
| Work procedures may include: | assignment instructions equipment manufacturers’ requirements instructions from colleagues, supervisor or manager personal protective equipment requirements reporting and documentation requirements specific customer requirements. |
| Checking compliance requirements may include: | conducting commissioning tests detailed in Australian standard AS 2444 Portable fire extinguishers and fire blankets – Selection and location, and manufacturers’ documents to verify performance of an installed, repaired or altered piece of equipment or system reviewing documentation to verify that installed systems comply with relevant rules and regulations, such as fire safety statement for the building. |
| Action may include: | advising customer documenting non-compliance making equipment safe reporting, as required. |
| Organisational policies and procedures may include: | job scheduling systems and communication devices personnel practices and guidelines outlining work roles, responsibilities and delegations recording and reporting documentation and systems relevant OHS policies, procedures and programs relevant rules and regulations standard operating procedures, work instructions and manuals. |
| Location surfaces may include: | brick concrete metal plaster plastic wood. |
| Customer requirements may include: | confirming or varying service instructions following sign-in and sign-out procedures for entry to or exit from premises providing non-routine or urgent services providing routine services providing written or verbal confirmation of services provided and future maintenance schedule sighting work permits. |
| Fire cabinets may include types that: | accommodate one extinguisher accommodate more than one extinguisher. |
| Fasteners should be appropriate to the location and may include those for: | fire blankets, such as: cup hooks screws fire extinguishers and fire cabinets, such as: expanding bolts explosive powered fasteners plugs screws. |
| Documentation may include: | application for credit forms certificates of inspection corrective action reports customer recommendation forms equipment recommendation forms expense claims job cards maintenance record system motor vehicle fleet cards petty cash vouchers product documentation service agreements. |

# Unit Sector(s)

Fire protection equipment

# Custom Content Section

Not applicable.