# CPPSS00019 Install and Decommission Fixed Fire Extinguishing Systems Skill Set

Release 2

CPPSS00019 Install and Decommission Fixed Fire Extinguishing Systems Skill Set

# Modification History

Editorial correction to Skill Set

Outcome unchanged.

# Description

Not applicable.

# Pathways Information

Completion of these units provides credit towards CPP20511 Certificate II in Fire Protection Inspection and Testing and CPP30811 Certificate III in Fire Protection Inspection and Testing.

This skill set meets the full licensing requirements of the Extinguishing Agent Handling Licence: Fixed System Installation and Decommissioning.

# Licensing/Regulatory Information

Not applicable.

# Skill Set Requirements

| CPPCMN2002A | Participate in workplace safety arrangements |
| --- | --- |
| CPPFES2003A | Safely move loads and dangerous goods |
| CPPFES2006A | Prepare for installation and servicing operations |
| CPPFES2043A | Prevent ozone depleting substance and synthetic greenhouse gas emissions |
| CPPFES3044A | Interpret installation requirements for gaseous fire-suppression systems |
| CPPFES3045A | Install gaseous agent containers and actuators |
| CPPFES3046A | Decommission gaseous agent containers and actuators |

# Target Group

| Competency in this skill set is for people who: |  |  |
| --- | --- | --- |
| 1 | Install and decommission a gaseous fire extinguishing system (fire protection equipment) including to: |  |
|  | a | install and disconnect actuation devices (mechanisms) to and from container valves; and |
|  | b | install and disconnect gaseous agent containers; and |
|  | c | install and disconnect any interconnections to other gaseous system containers; and |
|  | d | install and disconnect ancillary equipment connections to manifold and pipework; and |
|  | e | attach and remove transport equipment, such as valve outlet and actuator port caps, plugs and locking devices installed to prevent accidental discharge. |
| 2 | Commission actuation control devices set to operate and engage safety devices as needed and decommission these devices. |  |
| This skill set meets the full licensing requirements of the Extinguishing Agent Handling Licence: Install and Decommission Fixed Systems. |  |  |

# Suggested words for Statement of Attainment

These units from CPP07 Property Services Training Package meet industry requirements for installing and decommissioning fixed fire extinguishing systems.

# Custom Content Section

Not applicable.