# CPPSS00041 Test and Maintain Fixed Fire Extinguishing Systems Skill Set

Release 2

CPPSS00041 Test and Maintain Fixed Fire Extinguishing Systems Skill Set

# Modification History

Editorial correction to Skill Set

Outcome unchanged.

# Description

Not applicable.

# Pathways Information

Completion of these units provides credit towards CPP20511 Certificate II in Fire Protection Inspection and Testing and CPP30811 Certificate III in Fire Protection Inspection and Testing.

This skill set meets the full licensing requirements of the Extinguishing Agent Handling Licence: Fixed System Testing and Maintenance.

# Licensing/Regulatory Information

Not applicable.

# Skill Set Requirements

| CPPCMN2002A | Participate in workplace safety arrangements |
| --- | --- |
| CPPFES2003A | Safely move loads and dangerous goods |
| CPPFES2006A | Prepare for installation and servicing operations |
| CPPFES2025A | Inspect, test and maintain gaseous fire-suppression systems |
| CPPFES2043A | Prevent ozone depleting substance and synthetic greenhouse gas emissions |
| CPPFES2047A | Inspect and test control and indicating equipment |
| CPPFES3046A | Decommission gaseous agent containers and actuators |

# Target Group

| This skill set is for people who test and maintain a gaseous fire extinguishing system (fire protection equipment), including to: |  |
| --- | --- |
| a | test actuation release systems; and |
| b | disconnect and reconnect actuation devices (mechanisms); and |
| c | disconnect and reconnect any interconnections to other gaseous systems containers; and |
| d | disconnect and reconnect ancillary equipment connections from containers to manifold and pipework; and |
| e | test actuation devices (mechanisms); and |
| f | perform any tests and maintenance on any Fire Detection and Alarm System, including any remote operation panel and actuation and control system that interfaces with or forms part of a gaseous fire extinguishing system; and |
| g | perform any tests and maintenance on gaseous agent containers and ancillary equipment connections from containers to manifold and pipework. |
| Note: This licence does not entitle the licensee to perform in situ liquid level testing that does not involve any of the actions in paragraphs (a) to (f). |  |

# Suggested words for Statement of Attainment

These units from CPP07 Property Services Training Package meet industry requirements for testing and maintaining fixed fire extinguishing systems.

# Custom Content Section

Not applicable.