# DEFEXO151 Acquire data related to pressure

Release: 2

DEFEXO151 Acquire data related to pressure

# Modification History

Release 2. Modifications made to Foundation Skills and Assessment Conditions.

Release 1. This unit was released in DEF Defence Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to DEFEO810A Acquire data related to pressure. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice PC 1.5 and 2.5 removed PC 3.1 and 3.2 merged Element 1 one new PC

# Application

This unit describes the skills required to acquire data related to pressure in a proof and experimental environment. Explosive ordnance proof tests are conducted to ensure weapons systems or explosive ordnance in service with Defence meets the required standards. The acquisition of data related to pressure is a common component of proof tests. This unit was developed for personnel involved in a physical science or engineering environment where products undergo testing to establish that they meet established standards and/or specifications in respect to pressure, but is applicable to any individual in this field of work. The skills and knowledge described in this unit must be applied within the legislative, regulatory and policy environment in which they are carried out. Organisational policies and procedures must be consulted and adhered to. Those undertaking this unit must demonstrate the ability to work independently and as part of a team under direct and/or indirect supervision, use discretion and judgement, and take responsibility for the quality of their output. They would perform complex tasks in a range of known contexts. No licensing, legislative or certification requirements apply to unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Explosive Ordnance

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Prepare for data collection | 1.1 | Obtain and confirm test plan |
|  |  | 1.2 | Brief stakeholders and test participants in accordance with the test plan |
|  |  | 1.3 | Check and initiate safety systems and procedures in accordance with test plan |
|  |  | 1.4 | Schedule key activities and timelines with full consideration to the specification and available resources |
|  |  | 1.5 | Comply with and record administrative and legal requirements for data collection |
|  |  | 1.6 | Communicate responsibilities to staff to ensure clarity of understanding of the work and to provide a basis for ongoing assessment |
|  |  | 1.7 | Select and install data collection equipment in accordance with the data collection plan |
| 2 | Gather data | 2.1 | Operate equipment according to manufacturer’s specification, statutory and organisational policies and guidelines |
|  |  | 2.2 | Collect data using methodologies detailed in the data collection plan |
|  |  | 2.3 | Document metadata according to accepted industry standards |
|  |  | 2.4 | Identify and plan for discrepancies between specification and actual activities |
| 3 | Finalise the collection process | 3.1 | Complete and store data and documentation |
|  |  | 3.2 | Check data integrity in accordance with the validation plan |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit supersedes and is equivalent to DEFEO810A Acquire data related to pressure.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6bdbab1e-11ed-4bc9-9cba-9e1a55d4e4a9

Assessment Requirements for DEFEXO151 Acquire data related to pressure

# Modification History

Release 2. Modifications made to Foundation Skills and Assessment Conditions.

Release 1. This unit was released in DEF Defence Training Package release 1.0 and meets the Standards for Training Packages. This unit supersedes and is equivalent to DEFEO810A Acquire data related to pressure. Unit code updated Content and formatting updated to comply with the new standards All PC transitioned from passive to active voice PC 1.5 and 2.5 removed PC 3.1 and 3.2 merged Element 1 one new PC

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and includes:

analysing and evaluating information communicating effectively with stakeholders performing complex calculations and analysing data related to pressure rectifying collection faults solving problems

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and includes:

operational knowledge of: analysis process data acquisition methodologies information sources organisational guidelines and standards regulatory requirements relevant legislation research techniques

# Assessment Conditions

Assessors must hold credentials specified within the Standards for Registered Training Organisations current at the time of assessment. Assessment must satisfy the Principles of Assessment and Rules of Evidence and all regulatory requirements included within the Standards for Registered Training Organisations current at the time of assessment. Assessment must occur in workplace operational situations. Where this is not appropriate, assessment must occur in simulated workplace operational situations that reflect workplace conditions. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Resources for assessment must include access to: a range of relevant exercises, case studies and/or simulations acceptable means of simulation assessment applicable documentation, including workplace procedures, regulations, codes of practice and operation manuals relevant materials, tools, equipment and PPE currently used in industry.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6bdbab1e-11ed-4bc9-9cba-9e1a55d4e4a9