# Assessment Requirements for DEFMIL090 Assist in the preparation, construction, operation and maintenance of a field water-point

Release: 1

Assessment Requirements for DEFMIL090 Assist in the preparation, construction, operation and maintenance of a field water-point

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in DEF Defence Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

assembling, operating and disassembling water supply and purification equipment

calculating and recording water flows

following instructions/directives and reporting information

analysing water quality data

handling water purification chemicals

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

WHS requirements

effects of weather on water quality and the operation of the site and plant

risk factors and potential hazards of surface water systems

safe handling and disposal of chemicals

team work principles and strategies

composition of teams and roles and responsibilities of team members

verbal and non-verbal communication techniques

written communication to a level required to complete workplace forms and reports

basic numeracy, such as addition, subtraction and multiplication

formulae and method for calculating water flow and volume

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6bdbab1e-11ed-4bc9-9cba-9e1a55d4e4a9

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6bdbab1e-11ed-4bc9-9cba-9e1a55d4e4a9