# Assessment Requirements for DEFMIL096 Prepare and operate a field water-point

Release: 1

Assessment Requirements for DEFMIL096 Prepare and operate a field water-point

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in DEF Defence Training Package release 1.0 and meet the Standards for Training Packages. Assessment Requirements created drawing upon specified assessment information from superseded unit |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

analysing instructions

conducting and quality assuring water analysis

conducting risk assessment

conducting tactical and technical water-point reconnaissance

managing fuel/chemical spill containment

managing the storage of water

preparing and issuing instructions and orders

providing advice

selecting and maintaining routes

supervising the construction of improvised water towers

communicating effectively with team personnel and outside agencies

monitoring water quality and quantity

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

design and construction requirements of improvised water towers

environmental considerations:

chemical storage/MSDS

fuel/chemical spill containment

legal responsibilities

pathology report of water samples

relevant legislation and procedures in relation to environmental requirements

relevant WHS regulations/requirements, equipment, material and personal safety requirements

requirements of a technical reconnaissance of a water point

water analysis and storage requirements

# Assessment Conditions

Competency should be demonstrated over a time frame that allows the individual to be observed in all aspects of the operation, a typical time frame would be three days.

Competency should be assessed in the workplace or in a simulated work environment. Specifically, access is required to the following resources:

field water point equipment and accessories relevant to the task

team

hand tools, power tools, plant and other equipment appropriate to the supply of water

suitable water supply

field water point site

pathology report of water samples

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6bdbab1e-11ed-4bc9-9cba-9e1a55d4e4a9

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6bdbab1e-11ed-4bc9-9cba-9e1a55d4e4a9