# Assessment Requirements for DEFPET004 Assist in the construction and maintenance of a non-permanent bulk fuel installation

Release: 1

Assessment Requirements for DEFPET004 Assist in the construction and maintenance of a non-permanent bulk fuel installation

# Modification History

Release 1. This is the first release of this unit of competency in the DEF Defence Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least one occasion and include: applying Australian dangerous goods codes including: segregation and storage requirements applying relevant legislation, and organisational policies and procedures assisting in constructing and maintaining nonpermanent bulk fuel installations of different sizes with different fuel products to be stored controlling fuel spills dealing effectively with unplanned events interpreting fuel markings and panels interpreting technical/schematic diagrams and publications implementing environmentally sustainable work practices responding to emergencies working effectively as part of a team working remotely.

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of: Australian dangerous goods codes including: segregation and storage requirements emergency response plan fuel transfer equipment operation functions and responsibilities of team members hazard risk control methods associated with fuel products maintenance procedures for fuel transfer systems relevant legislation, and organisational policies and procedures, including pollution control relevant work health and safety (WHS)/occupational health and safety (OHS) requirements schematic diagrams.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations, where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, safety equipment and personal protective equipment currently used in industry including: workplace equipment required for the construction of non-permanent bulk fuel installations specific workplace operating procedures and publications applicable documentation including operational procedures, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6bdbab1e-11ed-4bc9-9cba-9e1a55d4e4a9