# Assessment Requirements for DEFPHL007 Conduct chlorine dosing of water at the point of supply

Release: 1

Assessment Requirements for DEFPHL007 Conduct chlorine dosing of water at the point of supply

# Modification History

Release 1. This is the first release of this unit of competency in the DEF Defence Training Package.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria on at least two separate occasions – in an urban or field setting – and include: applying Australian drinking water guidelines (ADWG) applying relevant legislation, and organisational policies and procedures calculating chlorine dosing levels accurately identifying and responding to dosing faults identifying hazards, assessing risks and implementing control measures interpreting data gathered in the field against quality standards liaising and communicating with persons in positions of authority measuring chemicals accurately using, handling and storing chlorine in accordance with safety data sheets (SDS)/material safety data sheet (MSDS).

# Knowledge Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy all of the requirements of the elements and performance criteria and include knowledge of: ADWG chlorine dosing levels per volume of water documentation processes relevant to own workplace process of disease relationship between chlorine, water pH and temperature as it relates to water disinfection relevant dangerous/hazardous goods codes including: handling and storage requirements for chlorine relevant SDS/MSDS risk management principles water quality assurance measures.

# Assessment Conditions

As a minimum, assessors must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. As a minimum, assessment must satisfy applicable regulatory requirements, which include requirements in the Standards for Registered Training Organisations current at the time of assessment. Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate. Assessment must occur in workplace operational situations, where it is appropriate to do so; where this is not appropriate, assessment must occur in simulated workplace operational situations that replicate workplace conditions. Resources for assessment must include access to: a range of relevant exercises, case studies and/or other simulations relevant and appropriate materials, tools, equipment, stores and personal protective equipment currently used in industry relevant documentation including operational procedures, safety data sheets, regulations, codes of practice and operation manuals.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6bdbab1e-11ed-4bc9-9cba-9e1a55d4e4a9