# Assessment Requirements for DEFSIM001 Fault find and repair simulator power distribution and control systems

Release: 1

Assessment Requirements for DEFSIM001 Fault find and repair simulator power distribution and control systems

# Modification History

| Release | Comments |
| --- | --- |
| 1 | These Assessment Requirements were released in DEF Defence Training Package release 1.0 and meet the Standards for Training Packages. |

# Performance Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the candidate must demonstrate evidence of performance of the following on at least one occasion.

undertaking research and analysis related to simulator power distribution and control systems

following logical complex fault finding techniques

using measuring instruments such as megaohmeters, multimeters, cathode ray oscilloscopes (CRO), 240-415v portable appliance testers, 240-415v phase angle meters and 240-415v clamp meters

applying simulator power distribution and control systems repair methodologies

following configuration management processes

using appropriate information technology and software including general online diagnostic tools and proprietary simulator management databases

identifying, reviewing and analysing information that may impact on the simulator power distribution and control systems fault finding

conducting simulator power distribution and control systems functional testing

negotiating and communicating with key stakeholders

# Knowledge Evidence

Evidence required to demonstrate competence must satisfy all of the requirements of the elements and performance criteria. If not otherwise specified the depth of knowledge demonstrated must be appropriate to the job context of the candidate.

operational capabilities and limitations of the relevant simulator

operational capabilities and limitations of the relevant simulator power distribution and control systems

simulator operating modules comprising the simulator system being worked on

fault indicators related to the simulator power distribution and control systems being worked on

repair methodologies related to the simulator power distribution and control systems being worked on

legislative and regulatory requirements related to the simulator being worked on

organisational policy and procedures related to the relevant simulator power distribution and control systems

configuration management related to the simulator power distribution and control systems being worked on

product knowledge related to systems and/or equipment in service

# Assessment Conditions

Competency should be assessed in an actual workplace or in a simulated environment, with access to equipment and infrastructure appropriate to the outcome. Competency should be demonstrated over time to ensure the candidate is assessed across a variety of situations.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6bdbab1e-11ed-4bc9-9cba-9e1a55d4e4a9

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=6bdbab1e-11ed-4bc9-9cba-9e1a55d4e4a9